## Sheet1
BEGIN_DATE | END_DATE | FACILITY_NAME | COUNTY | CITY | OVERFLOW_LOCATION | QUANTITY | NOTES | OVERFLOW_TYPE | DISTRICT | PERMIT_NUMBER | WASTEWATER_FACILITY_TYPE | SPILL_RECV_WATERBODY_TYPE | SPILL_POSTING_LOCATION | SPILL_PRIMARY_CAUSE | INCIDENT_REPORTED_BY | CALL_RECEIVED_BY | SPILL_ENTERED_BY | EMPLOYEE_RESPONSIBLE | INCIDENT_REPORTED_DATE | RIVER_BASIN | POSTING_BEGIN_DATE | MONITORING_BEGIN_DATE | MONITORING_END_DATE | IS_ENTERED_WATERWAY | WATERWAY_IMPACTED | IS_SIGN_POSTED | IS_MEDIA_CONTACTED | IS_DEAD_FISH_REPORTED | IS_PUB_NOTICE_UND | IS_WQ_VIOLATION | IS_CHATTAHOOCHEE_NOTIF | IS_FISHERY_NOTIF | IS_OUTFALL_SPILL | IS_COASTAL_NOTIF | IS_DW_NOTIF | IS_EMERG_NOTIF | IS_MAJ_SAMPLING_UND | IS_MAJOR | IS_SEVEN_DAY_SAMPL_RCV | FECAL_COLIFORM | IS_BORDER_ST_NOTIF | CAUSE_COMMENT | CORR_ACTION_COMMENT | CALL_RECV_BY_EMP_ID | EMP_RESP_ID | SPILL_ENTERED_BY_ID | ENTRY_DATE | IS_DIST_ENV_NOTIF | IS_HEALTH_NOTIF | IS_DOWNSTREAM_USERS_NOTIF | IS_THIRD_MONTH_SAMPLING_RECD | IS_TWELFTH_MONTH_SAMPLING_RECD | IS_IMPACTED_WATERWAY_303 | CONTACT_PERSON | CONTACT_PHONE | CONTACT_ORGANIZATION | CONTACT_ADDRESS | PERSON_REPORTING_SPILL | PERSON_REPORTING_SPILL_PHONE | PERSON_REPORTING_SPILL_ORG | PERSON_REPORTING_SPILL_ADDRESS | RESPONSIBLE_AUTHORITY | RESPONSIBLE_AUTHORITY_PHONE | RESPONSIBLE_AUTHORITY_ADDRESS | BOD | TSS | DURATION_MIGRATED
2018-09-27 | 2018-09-28 | City of Fort Oglethorpe | Catoosa |  | Vacant lot across from 341 Oklawaha Avenue | 8500 | The city had received over 5 inches of rain in a four day period. The SSO occurred at the end of the the four day rain event and was the only incident reported to the city. | Raw Sewage | Mountain District - Cartersville | GAU060002 | Collection System | Stream |  | Wet weather |  | Tracy Feltman | Kathy Lewis | Tracy Feltman | 9/28/2018 12:00:00 AM | Tennessee |  |  |  | 1 | Black Branch | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Excessive rainfall | The city has several actions in progress which are designed to reduce inflow and infiltration into the Sanitary Sewer Collection System. See letter in documents section. | beec5611-d9d5-4915-abe3-0869ce733561 | beec5611-d9d5-4915-abe3-0869ce733561 | 452173e4-eb6e-11e0-b8d8-000c29971acc | 2018-10-02 | 1 | 0 | 0 | 0 | 0 | 0
2018-09-17 | 2018-09-17 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Clarkston | 3954 Memorial College Avenue Clarkston GA 30021 | 4800 | manhole 18-043-s058 | Raw Sewage | Wastewater Regulatory Program | GA0024147 | Collection System | Stream |  | Grease |  |  |  | Dillon Rodenbaugh | 9/18/2018 10:56:00 AM | Ocmulgee |  |  |  | 1 | Snapfinger Creek Tributary C | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | grease | pressure washed to remove grease and debris |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 |  | 2018-09-18 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-29 | 2018-09-29 | Swainsboro, City of (Yam Grandy Creek WPCP) | Emanuel | Swainsboro | Lift Station #4 @ Crump Street - Swainsboro | 120 | Phone call received October 5, 2018. | Raw Sewage | Wastewater Regulatory Program | GA0039225 |  | Ground |  | Wet weather |  | Alys Hannum | Alys Hannum |  | 10/5/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waterways | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | High level rain event. | Site cleaned up and lime applied. | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-10-09 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-03 | 2018-10-03 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Atlanta | 3892 Buford Highway Atlanta GA 30319 | 3680 | manhole 18-236-s070 spilling | Raw Sewage | Wastewater Regulatory Program | GA0024147 |  | Stream |  | Grease |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 10/3/2018 11:53:00 PM | Ocmulgee |  |  |  | 1 | North Fork Peachtree Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | grease | pressured washed manhole |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-10-04 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-29 | 2018-08-29 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Atlanta | 3330 Northlake Parkway, Atlanta GA 30345 | 1200 | manhole 18-210-p129 | Raw Sewage | Wastewater Regulatory Program | GA0024147 | Collection System | Stream |  | Equipment failure |  |  | Dillon Rodenbaugh |  | 8/30/2018 11:20:00 AM | Ocmulgee |  |  |  | 1 | North Lake | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Found private manhole#18-210-p129 | Sunbelt was on site making repairs to sewer pump which restored flow back to the sewer main |  |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-08-30 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-05 | 2018-08-05 | Forsyth County (Fowler & Shakerag WRF) | Forsyth | Cumming | 2990 Creek Tree Lance - Cumming | 750 | Fax sent 2018-08-06 ~100 gallons entered stream | Raw Sewage | Wastewater Regulatory Program | GA0038954 | Collection System | Stream | Stream | Grease |  |  | Alys Hannum | Alys Hannum | 8/6/2018 12:00:00 AM |  | 8/5/2018 12:00:00 AM |  |  | 1 | Bagley Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease and rags | Jetted to remove grease & rags, cleaned up, spread lime, posted signs. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-08 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-07 | 2018-08-08 | Arlington, City of (Arlington WPCP) | Early | Arlington | 116 Azalea Street in Arlington, GA. | 0 |  | Raw Sewage | Southwest District | GA0026204 | Collection System | Ground, Storm Drain, Stream |  | Pipe failure |  | Linda Stevens | Jay Howell | Linda Stevens | 8/7/2018 2:00:00 PM | Flint |  |  |  | 1 | Perry Creek | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 |  | 0 | Spill of raw sewage (unknown volume provided yet, but estimated greater than 10,000 gallons) from collapsed pipe in distribution system. Received via CTS#87135. | Line repaired and placed back into service on 8/8/2018. | 72b89952-7fed-43ef-a49d-acceca69b62c | 72b89952-7fed-43ef-a49d-acceca69b62c | 40cb8afa-eb6e-11e0-b8d8-000c29971acc | 2018-09-13 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-04 | 2018-08-04 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 180 Howell Dr. SW - Atlanta | 176 | Fax sent 2018-08-05 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Debris |  |  | Alys Hannum | Alys Hannum | 8/5/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-07 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-07 | 2018-08-07 | East Point (City of)- Sewers | Fulton | East Point | 3400 Creek Pointe Drive | 276000 |  | Raw Sewage | Wastewater Regulatory Program |  | Collection System | Stream | Stream | Other |  | Reginald Williamson | Reginald Williamson | Reginald Williamson | 8/14/2018 12:00:00 AM | Chattahoochee |  |  |  | 0 | Camp Creek Basin | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | damaged pipe with DIP |  | 33e4b44c-ee02-11e0-b8d8-000c29971acc | 33e4b44c-ee02-11e0-b8d8-000c29971acc | 33e4b44c-ee02-11e0-b8d8-000c29971acc | 2018-08-14 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-08 | 2018-08-08 | Pine Mountain, Town of (Pine Mountain WPCP) | Harris |  |  | 500 |  | Raw Sewage | West Central District | GA0025691 | Lift Station | Stream | Stream | Equipment failure |  |  |  | Stephanie Edwards | 8/8/2018 12:00:00 AM | Chattahoochee |  |  |  | 0 | Crawford Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 426838fe-eb6e-11e0-b8d8-000c29971acc |  | 2018-08-08 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-17 | 2018-08-17 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Lithonia | 3019 Fields Drive Lithonia GA 30038 | 200 | manhole#16-087-s031 | Raw Sewage | Wastewater Regulatory Program | GA0024147 |  | Storm Drain |  | Grease |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 8/18/2018 12:04:00 AM | Ocmulgee |  |  |  | 0 | Pole bridge Creek | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | grease | Pressurewashed manhole to clear blockage |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-08-28 | 0 | 1 | 0 | 0 | 0 | 0
2018-08-04 | 2018-08-04 | Polo Golf & Country Club WPCP | Forsyth |  | On the N.E. side of 6135 Polo Drive, Cumming GA. Manhole on Golf Course in rough | 2000 |  | Raw Sewage | Mountain District - Cartersville | GAJ030950 | WWTP | Stream |  | Power failure |  | Katie Meade | Kathy Lewis | Katie Meade | 8/6/2018 12:00:00 AM | Chattahoochee |  |  |  | 1 | Cheatham Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Lightening strike, power surge. Breaker, autodialer, and 2 pumps burst and open | Pumps pulled, spare breaker, pump installed. Dialer ordered. Cleaned area approx. 7' x 10' and removed to dumpster. | 77e9b2a3-e985-4535-b5df-da199a9c72b6 | 77e9b2a3-e985-4535-b5df-da199a9c72b6 | 452173e4-eb6e-11e0-b8d8-000c29971acc | 2018-08-14 | 1 | 0 | 0 | 0 | 0 | 0
2018-09-17 | 2018-09-17 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 1123 Braemar Ave. SW - Atlanta | 1900 | Fax sent 2018-09-18 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Pipe failure |  |  | Alys Hannum | Alys Hannum | 9/18/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Collapsed mainline | Crew made mechanical repairs to the mainline to contain the spill. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-18 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-17 | 2018-09-17 | Dublin, City of (Dublin WPCP) | Laurens | Dublin | 219 Mincey St - Dublin | 7000 | Email sent 2018-09-18 | Raw Sewage | Wastewater Regulatory Program | GA0025569 | Collection System | Stream | Stream | 3rd party contractor |  |  | Alys Hannum | Alys Hannum | 9/18/2018 12:00:00 AM |  | 9/17/2018 12:00:00 AM |  |  | 1 | Ferry Branch | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Pipe failure and debris in the line | Crew repaired damage caused by 3rd party contractor. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-18 | 1 | 1 | 0 | 0 | 0 | 0
2018-09-12 | 2018-09-12 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 1890 Austin Rd. SW - Atlanta | 460 | Fax sent 2018-09-13 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Debris |  |  | Alys Hannum | Alys Hannum | 9/13/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-14 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-24 | 2018-09-24 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 360 Englewood Ave. SE - Atlanta | 60 | Fax sent 2018-09-25 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Equipment failure |  |  | Alys Hannum | Alys Hannum | 9/25/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Equipment failure. | Process to clean and disinfect the site has been initiated. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-25 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-10 | 2018-08-10 | Cleveland, City of (Cleveland WPCP) | White |  | Manhole at 896 Campbell Street, Cleveland | 500 |  | Raw Sewage | Mountain District - Cartersville | GA0036820 | WWTP |  |  | Equipment failure |  | Matthew Stickney | Kathy Lewis | Katie Meade | 8/13/2018 12:00:00 AM | Chattahoochee |  |  |  | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Rupture and break on the 1 inch check release valve in manhole | Replacement of valve to stop leak. Cleaned up overflow area with lime. | 77dbdd3c-0b48-49c2-b623-a78b1b0170cf | 77e9b2a3-e985-4535-b5df-da199a9c72b6 | 452173e4-eb6e-11e0-b8d8-000c29971acc | 2018-08-15 | 1 | 0 | 0 | 0 | 0 | 0
2018-08-07 | 2018-08-07 | Macon Water Authority (Rocky Creek WPCP) | Macon | Macon | Indian Mounds Lift Station | 9765 |  | Raw Sewage | Wastewater Regulatory Program | GA0024546 | Lift Station | Ditch | Ditch | Equipment failure |  |  | Juan Robles | Juan Robles | 8/8/2018 12:00:00 AM |  | 8/8/2018 12:00:00 AM |  |  | 0 | Walnut Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Hydraulic overload due to rain and lift station failure. | MWA maintenance crews arrived on site and were able to adjust the pumps and the manhole stopped overflowing. Maintenance crews will also be implementing changes to the controls in the station to prevent issues during heavy rainfall. |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | 2018-08-09 | 0 | 1 | 0 | 0 | 0 | 0
2018-09-04 | 2018-09-06 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Chamblee | 2240 Coronado Place Chamblee GA 30341 | 200 | sewer coming out of the bank of the creek | Raw Sewage | Wastewater Regulatory Program | GA0024147 | Collection System | Stream |  | Debris |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 9/5/2018 5:52:00 PM | Ocmulgee |  |  |  | 1 | North Fork Peachtree Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris of rocks, and tissue. | Pressurewashed |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-09-06 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-11 | 2018-08-11 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 771 Lindbergh Dr. NE - Atlanta | 15 | Fax sent 2018-08-12 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Debris |  |  | Alys Hannum | Alys Hannum | 8/12/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-14 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-28 | 2018-08-28 | Columbia County (Reed Creek WPCP) | Columbia | Martinez | 4375 Feather Court - Martinez | 900 | Fax sent 2018-08-30 | Raw Sewage | Wastewater Regulatory Program | GA0031992 | Collection System | Stream | Stream | Debris |  |  |  | Alys Hannum | 8/30/2018 12:00:00 AM |  | 8/28/2018 12:00:00 AM |  |  | 1 | 900 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease, flushable wipes, and debris. | Unclogged sewer line with jet machine. Limed overflow area. Posted signs. Planned follow-up video inspection. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d |  | 2018-09-05 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-13 | 2018-08-13 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Atlanta | 3330 Northlake Parkway, Atlanta GA 30345 | 47460 | manhole 18-210-p129 a private manhole | Raw Sewage | Wastewater Regulatory Program | GA0024147 | Collection System | Stream |  | Unknown |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 8/13/2018 9:59:00 PM | Ocmulgee |  |  |  | 1 | North Lake | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | unknown blockage | unsuccessfully pressure washed. Bypassed to stop spill. Point repair will be scheduled |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-08-21 | 0 | 1 | 0 | 0 | 0 | 0
2018-09-04 | 2018-09-04 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Chamblee | 3393 Blackburn Way, Chamblee GA 30341 | 200 | manhole 18-298-s024 spilling | Raw Sewage |  | GA0024147 | Collection System |  |  | Debris |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 9/4/2018 1:48:00 PM | Ocmulgee |  |  |  | 1 | North Fork Peachtree Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris | pressure washed |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-09-04 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-14 | 2018-09-14 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Lithonia | 6591 Tribble Street Litonia GA 30058 | 9495 | manhole 18-121-s008 | Raw Sewage | Wastewater Regulatory Program | GA0024147 |  | Storm Drain |  | Grease |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 9/14/2018 6:42:00 PM | Ocmulgee |  |  |  | 1 | Pole bridge Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | grease | pressure washed |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-09-17 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-03 | 2018-08-03 | Athens-Clarke County (North Oconee WPCP) | Clarke | Athens | Lexington Road | 0 | unknown | Raw Sewage | Wastewater Regulatory Program | GA0021725 | Collection System | Ground |  |  |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 9/4/2018 12:00:00 AM |  |  |  |  | 0 | none | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | unknown |  |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-09-04 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-05 | 2018-10-05 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 2152 Wilson Ave. NW - Atlanta | 30 | Fax sent 2018-10-06 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Debris |  |  | Alys Hannum | Alys Hannum | 10/6/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-10-09 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-28 | 2018-09-28 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Lithonia | 4640 Lionshead Circle | 940 | manhole 15-096-s020 spilling | Raw Sewage | Wastewater Regulatory Program | GA0024147 | Collection System | Stream |  | Grease |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 9/28/2018 5:23:00 PM | Ocmulgee |  |  |  | 1 | Snapfinger Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | grease | pressurewashed |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-10-12 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-30 | 2018-08-30 | Columbus Water Works (South WRF) | Muscogee | Columbus | 927 Forbes Drive | 349 |  | Raw Sewage | Wastewater Regulatory Program | GA0020516 | Collection System | Stream |  | Pipe failure |  |  | Juan Robles | Juan Robles | 8/30/2018 12:00:00 AM | Chattahoochee |  |  |  | 0 | Tributary of Chattahoochee River | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | An 8" pipe broke that resulted in a discharge into a unnamed tributary of the Chattahoochee River. | Section of broken pipe was repaired. |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | 2018-09-04 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-08 | 2018-08-08 | Pine Mountain, Town of (Pine Mountain WPCP) | Harris |  |  | 500 |  | Raw Sewage | West Central District | GA0025691 | Lift Station | Stream | Stream | Equipment failure |  |  |  | Stephanie Edwards | 8/8/2018 12:00:00 AM | Chattahoochee |  |  |  | 0 | Crawford Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 426838fe-eb6e-11e0-b8d8-000c29971acc |  | 2018-08-08 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-14 | 2018-08-14 | Dublin, City of (Dublin WPCP) | Laurens | Dublin | 1010 Honeysuckle Road - Dublin | 2500 | Phone call rec'd 2018-08-14 | Raw Sewage | Wastewater Regulatory Program | GA0025569 | Pump Station | Other |  | Power failure |  |  |  | Alys Hannum | 8/14/2018 12:00:00 AM |  |  |  |  | 0 | Private Retention Pond | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Power failure at the lift station. | Power company (EMC) was called to repair. Wet well was pumped down. Health Dept. and Newspaper notified. Low-lying area will be monitored over the next 10 days in case of rainfall or other situations which could cause adverse impacts. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d |  | 2018-08-24 | 0 | 1 | 0 | 0 | 0 | 0
2018-09-06 | 2018-09-06 | Forsyth County (Fowler & Shakerag WRF) | Forsyth | Cumming | 4720 Odum Lake - Cumming | 2 | Email received 2018-09-07 | Raw Sewage | Wastewater Regulatory Program | GA0038954 | Collection System | Ground |  | Debris |  |  | Alys Hannum | Alys Hannum | 9/7/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Blockage, gravel | Jetted lateral, placed lime around cleanout. Camera, gravel was found. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-07 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-07 | 2018-10-07 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 1094 Stonewall Dr. SE - Atlanta | 75 | Fax sent 2018-10-08 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Unknown |  |  | Alys Hannum | Alys Hannum | 10/8/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Unknown | Unknown |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-10-09 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-02 | 2018-08-02 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 1269 E Rock Springs Rd. NE - Atlanta | 128 | Fax sent 2018-08-03 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Debris |  |  | Alys Hannum | Alys Hannum | 8/3/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-07 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-28 | 2018-08-28 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | Fowler St. NW - Atlanta | 456 | Fax sent 2018-08-29 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | 3rd party contractor |  |  |  | Alys Hannum | 8/29/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Private contractor damaged mainline while digging |  |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d |  | 2018-08-30 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-04 | 2018-09-04 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 4300 Northside Dr. NW - Atlanta | 1112 | Fax sent 2018-09-04 | Raw Sewage | Wastewater Regulatory Program | GA0039012 |  | Ground |  | Debris |  |  | Alys Hannum | Alys Hannum | 9/5/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-05 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-02 | 2018-10-02 | Athens-Clarke County (North Oconee WPCP) | Clarke | Athens | 2525 Atlanta Highway | 3442 |  | Raw Sewage | Northeast District - Athens | GA0021725 | Collection System |  |  | Rags |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 10/2/2018 12:00:00 AM | Oconee |  |  |  | 0 | Middle Oconee River | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | rags | rodded and flushed line |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-10-09 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-02 | 2018-10-02 | LaGrange, City of (Long Cane Creek WPCP) | Troup | LaGrange | King Arthur List Station | 11600 |  | Raw Sewage | Wastewater Regulatory Program | GA0036951 | Lift Station | Stream | Stream | Pipe failure |  |  | Juan Robles |  | 10/3/2018 12:00:00 AM |  |  |  |  | 0 | Pepperell Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | A piping system failure and a blockage in the corroded pipe system. | A temporary rubber wrap-around was placed over the hole in the pipe to allow lift station to function. |  |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | 2018-10-09 | 0 | 1 | 0 | 0 | 0 | 0
2018-08-25 | 2018-08-25 | Dublin, City of (Dublin WPCP) | Laurens | Dublin | 2235 Academy Extension | 50 | Complaint received 2018-09-04 Email received 2018-09-05 | Raw Sewage | Wastewater Regulatory Program | GA0025569 | Collection System | Ground |  | Pipe failure |  |  | Alys Hannum | Alys Hannum | 9/4/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waterways | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | "The City's repair crew was called in to inspect and they found that sewer was leaking inside a force main concrete vault..... a crack was located next to the 2" tap, on the 10" C-900 PVC, for the air release valve. " | "A repair clamp was installed and the leak was slowed to a slow drip and instructions left for the repair crew to continue monitoring and pumping down, as needed, to maintain for final repair. The City crew also used the vac truck to vacuum up, approximately 20 feet in length, the bottom of the drainage ditch where the sewer had ran and settled. The City will control the pump station and use two, 2,500 gallon septic tank trucks, to maintain the pump station during repair. 10" ductile iron piping will be replaced through the prefab concrete vault, grouted to seal the vault, and a new tap with a new air release valve, will be installed. The contractor will excavate the right-of-way, bring in new fill dirt with top soil and re-grass. Since Saturday, August 25th, the City has responded for inspection of the sewer vault and has vacuumed the vault 5 times, to maintain control of the sewer weeping in the vault." |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-06 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-21 | 2018-09-21 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Stone Mountain | 1600 Autumn Hurst Court Stone Mountain GA 30088 | 1780 | manhole 16-004-s030 spilling | Raw Sewage | Wastewater Regulatory Program | GA0024147 | Collection System | Stream |  | Debris |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 9/21/2018 8:10:00 PM | Ocmulgee |  |  |  | 1 | Barbashela Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris blockage | Pressurewashed |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-09-24 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-01 | 2018-10-01 | Athens-Clarke County (North Oconee WPCP) | Clarke | Athens | 200 Galewood Circle | 1473 |  | Raw Sewage | Wastewater Regulatory Program | GA0021725 | Collection System | Stream |  | Pipe failure |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 10/2/2018 12:00:00 AM | Oconee |  |  |  | 1 | Turkey Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Tree fell and broke aerial pipe | Water and Sewer repaired aerial pipe |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-10-01 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-24 | 2018-08-24 | Monroe, City of (Jack's Creek WPCP) | Walton | Monroe | Tractor Supply Pump Station - Monroe | 3000 | Email sent 2018-08-24 | Raw Sewage | Wastewater Regulatory Program | GA0047171 | Collection System | Stream |  | Equipment failure |  |  | Alys Hannum | Alys Hannum | 8/24/2018 12:00:00 AM |  |  |  |  | 1 | Trib. to Jack's Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Mechanical issues - pump stopped. | Repaired. Cleaned location and spread lime. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-24 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-05 | 2018-09-05 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Stone Mountain | 4104 Tahoe Court Stone Mountain GA 30083 | 3660 | manhole 18-014-s074 spilling | Raw Sewage | Wastewater Regulatory Program | GA0024147 | Collection System |  |  | Grease |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 9/5/2018 8:59:00 PM | Ocmulgee |  |  |  | 1 | Snapfinger Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease | pressure washed to clear grease |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-09-06 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-08 | 2018-08-08 | Pine Mountain, Town of (Pine Mountain WPCP) | Harris |  |  | 500 |  | Raw Sewage | West Central District | GA0025691 | Lift Station | Stream | Stream | Equipment failure |  |  |  | Stephanie Edwards | 8/8/2018 12:00:00 AM | Chattahoochee |  |  |  | 0 | Crawford Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 426838fe-eb6e-11e0-b8d8-000c29971acc |  | 2018-08-08 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-31 | 2018-08-31 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 1280 Oakland Dr. SW - Atlanta | 5 | Fax sent 2018-09-01 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Debris |  |  | Alys Hannum | Alys Hannum | 9/1/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease and debris in the mainline | Spill was self-contained. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-04 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-24 | 2018-09-24 | Columbus Water Works (South WRF) | Muscogee | Columbus | 3312 Gleason Avenue | 7131 |  | Raw Sewage | Wastewater Regulatory Program | GA0020516 | Collection System | Stream |  | Debris |  |  | Juan Robles | Juan Robles | 9/24/2018 12:00:00 AM |  |  |  |  | 0 | Bull Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | An 8" sewer main was clogged with debris causing an overflow. | Debris was cleared. |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | 2018-09-25 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-09 | 2018-10-09 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Atlanta | 1462 Lively Ridge Road | 3180 | 8 inch creek crossing | Raw Sewage | Wastewater Regulatory Program | GA0024147 | Collection System | Stream |  | Rags |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 10/9/2018 4:55:00 AM | Ocmulgee |  |  |  | 1 | South Fork Peachtree Creek & unnamed tributary | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Rags | pressure washed |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-10-11 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-18 | 2018-09-18 | Forsyth County (Fowler & Shakerag WRF) | Forsyth | Alpharetta | 475 Meadow Hill Dr. - Alpharetta | 5 | Email sent 2018-09-19 | Raw Sewage | Wastewater Regulatory Program | GA0038954 | Collection System | Ground |  | Roots |  |  | Alys Hannum | Alys Hannum | 9/19/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Roots in the lateral. | Jetted lateral, cleaned up solids and limed the area. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-20 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-19 | 2018-09-19 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 1141 Braemar Ave. SW - Atlanta | 20 | Fax sent 2018-09-19 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Debris |  |  | Alys Hannum | Alys Hannum | 9/20/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew made repairs to the mainline. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-21 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-11 | 2018-10-11 | Vidalia (South WPCP) | Toombs | Vidalia | Spills occurred at Lift Station(s) No. 12 (Sandy Rd.), No. 6 (Barksdale Dr.), No. 25 (Clydette Blvd.), No. 26 (Pleasure Court), and No. 27 (Hanna Circle) | 42500 |  | Raw Sewage | Coastal District | GAJ020100 | Collection System | Stream | Stream | Natural Disaster |  | Beth Stevenson | Brett Berry | Brett Berry | 10/15/2018 3:00:00 PM | Altamaha | 10/11/2018 12:00:00 AM | 2018-10-12 | 2019-10-12 | 1 | Rocky Creek | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 |  | 0 | 5 lift stations released sewage as a result of power outage caused by Hurricane Michael. | Sampling underway. Health department, public notice and legal organ notified. | 646e0b4d-944a-4ad1-9a8d-d0953fcfd6ea | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 2018-10-15 | 1 | 1 | 0 | 0 | 0 | 1
2018-09-14 | 2018-09-14 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 1671 James Jackson Pkwy - Atlanta | 890 | Fax sent 2018-09-15 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream | Stream | Debris |  |  | Alys Hannum | Alys Hannum | 9/15/2018 12:00:00 AM |  | 9/14/2018 12:00:00 AM |  |  | 1 | Proctor Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-18 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-04 | 2018-08-04 | Dalton Utilities (Riverbend WPCP) | Whitfield |  | 1500 Cleo Way Dalton, GA | 2325 |  | Raw Sewage | Mountain District - Cartersville | GAJ020056 | WWRF | Stream |  | Pipe failure |  | Tracy Feltman | Kathy Lewis | Tracy Feltman | 8/4/2018 12:00:00 AM | Coosa |  |  |  | 1 | Unnamed tributary of Mill Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Sewer main surcharge likely caused the release from a broken sewer pipe | Dalton Utilities cleared blockage with high pressure jet, release was stopped. Dalton Utilities will follow up with camera inspection to find potential break and will repair when located | beec5611-d9d5-4915-abe3-0869ce733561 | beec5611-d9d5-4915-abe3-0869ce733561 | 452173e4-eb6e-11e0-b8d8-000c29971acc | 2018-08-07 | 1 | 0 | 0 | 0 | 0 | 0
2018-09-04 | 2018-09-04 | Cleveland, City of (Cleveland WPCP) | White |  | 2103 Hwy 129 South, Cleveland | 450 | Overflow that did not enter state waters | Raw Sewage | Mountain District - Cartersville | GA0036820 | WWTP |  |  | Pipe failure |  | Matthew Stickney | Kathy Lewis | Matthew Stickney | 9/4/2018 12:00:00 AM | Chattahoochee |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Defective saddle strap on a 12" sewer line at manhole | Replaced fitting to stop leak. Cleaned up around the manhole, spread lime, posted area. | 77dbdd3c-0b48-49c2-b623-a78b1b0170cf | 77dbdd3c-0b48-49c2-b623-a78b1b0170cf | 452173e4-eb6e-11e0-b8d8-000c29971acc | 2018-09-18 | 1 | 0 | 0 | 0 | 0 | 0
2018-08-06 | 2018-08-06 | Rockdale County (Quigg Branch WPCP) | Rockdale |  | 614 Little Ridge Lane | 680 |  | Raw Sewage | Wastewater Regulatory Program | GA0047678 | Collection System | Stream | Stream | Grease |  | Reginald Williamson | Reginald Williamson | Reginald Williamson | 8/6/2018 12:00:00 AM |  |  |  |  | 0 | McClane Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease |  | 33e4b44c-ee02-11e0-b8d8-000c29971acc | 33e4b44c-ee02-11e0-b8d8-000c29971acc | 33e4b44c-ee02-11e0-b8d8-000c29971acc | 2018-08-07 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-07 | 2018-09-07 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 2906 N Hills Dr. NE - Atlanta | 300 | Fax sent 2018-09-08 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream | Stream | Debris |  |  | Alys Hannum | Alys Hannum | 9/8/2018 12:00:00 AM |  | 9/8/2018 12:00:00 AM |  |  | 1 | Peachtree Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-12 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-06 | 2018-10-06 | Macon Water Authority (Rocky Creek WPCP) | Bibb | Macon | 3260 Williamson Road, MH ID 53093 | 2400 |  | Raw Sewage | Wastewater Regulatory Program | GA0024546 | Collection System | Stream |  | Grease |  |  | Juan Robles |  | 10/8/2018 12:00:00 AM |  | 10/6/2018 12:00:00 AM |  |  | 0 | Rocky Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | The cause was determined to be grease. | Debris was removed and area disinfected. |  |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | 2018-10-09 | 0 | 1 | 0 | 0 | 0 | 0
2018-10-05 | 2018-10-05 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 2318 Ewing St. SW - Atlanta | 100 | Fax sent 2018-10-06 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Debris |  |  | Alys Hannum | Alys Hannum | 10/6/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-10-09 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-02 | 2018-10-02 | Gwinnett County (F. Wayne Hill WRC) | Gwinnett | Lawrenceville | 2945 Lealand Place Ln, Bldg #2 - Lawrenceville | 5207 | Fax sent 2018-10-02 | Raw Sewage |  | GA0038130 | Collection System | Stream | Stream | Grease |  |  | Alys Hannum | Alys Hannum | 10/2/2018 12:00:00 AM |  | 10/2/2018 12:00:00 AM |  |  | 1 | Unnamed Trib. of Sweetwater Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease; debris | Raked area and spread lime; placed signs at spill and waterway |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-10-02 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-30 | 2018-08-30 | Patterson, City of (Patterson WPCP) | Pierce | Patterson | Manhole located on Dallas St. & Hwy. 32, Williams St. and Echols St. | 500 |  | Raw Sewage | Coastal District | GA0037206 | Collection System | Stream | Ditch | Wet weather |  | Brett Berry | Brett Berry | Brett Berry | 8/31/2018 9:00:00 AM | Satilla | 8/31/2018 12:00:00 AM |  |  | 1 | Patterson Creek | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | The spill occurred following heavy rainfall of 2.9 inches in less than forty-five minutes. | Signage has been placed at the location of the spill site. Local health department and local media were notified. | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 2018-09-04 | 1 | 1 | 0 | 0 | 0 | 0
2018-08-06 | 2018-08-06 | Blackshear, City of | Pierce | Blackshear | Manhole located at Hwy. 84 and Carraway | 1000 |  | Raw Sewage | Coastal District | GAJ020001 | Collection System | Storm Drain | Ditch | Other |  | Brett Berry | Brett Berry | Brett Berry | 8/6/2018 11:00:00 AM | Satilla | 8/6/2018 12:00:00 AM |  |  | 0 | Albaha River | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Gravity flow sewer line partially clogged. | Sewer clog was cleared, signage placed at the discharge point, area was cleaned and local health department and local media were notified. | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 2018-08-07 | 1 | 1 | 0 | 0 | 0 | 0
2018-09-14 | 2018-09-14 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Clarkston | 618 North Indian Creek Drive Clarkston GA 30021 | 1380 | manhole 18-044-s021 | Raw Sewage |  | GA0024147 | Collection System | Storm Drain |  | Unknown |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 9/15/2018 12:17:00 AM | Ocmulgee |  |  |  | 1 | Snapfinger Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | unknown | pressure washed |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-09-17 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-16 | 2018-09-16 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Stone Mountain | 990 Redan Trace Stone Mountain GA 30088 | 335 | manhole 16-034-s037 | Raw Sewage |  | GA0024147 |  | Storm Drain |  | Grease |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 9/17/2018 8:06:00 AM | Ocmulgee |  |  |  | 1 | Barbashela Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease | Pressure washed |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-09-17 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-04 | 2018-08-04 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 2098 Campbellton Rd. SW - Atlanta | 50 | Fax sent 2018-08-05 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Operator error |  |  | Alys Hannum | Alys Hannum | 8/5/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Spill was caused by city crew jet rodding the service lateral. | Process to clean and disinfect the site has been initiated. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-08 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-08 | 2018-08-08 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 4008 Princeton Lakes Way SW - Atlanta | 6180 | Fax sent 2018-08-09 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream | Stream | Debris |  |  | Alys Hannum | Alys Hannum | 8/9/2018 12:00:00 AM |  | 8/8/2018 12:00:00 AM |  |  | 1 | Camp Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-10 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-02 | 2018-08-07 | Waycross, City of (Waycross WPCP) | Ware | Waycross | Intersection of Sycamore St. and Pendergast St. in Waycross, GA | 15000 | Spill letter and paperwork was received at the EPD coastal district office on 8/7/2018 which included a copy of the posted notification and a map of the discharge point and sampling sites. | Raw Sewage | Coastal District | GA0020966 | Collection System | Canal | Canal | Debris |  | Bill Hawthorne | Brett Berry | Brett Berry | 8/2/2018 8:00:00 PM | Satilla | 8/3/2018 12:00:00 AM | 2018-08-03 | 2019-08-03 | 1 | Tributary A1 Waycross Drainage Canal | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 |  | 0 | Spill occurred following a 2 inch afternoon rainfall. A blockage in the main was located at Byrd Street and Wilkerson Street. | Blockage was cleared by the use of a Jetter Trailer. Signs were posted at the spill site as well as downstream and upstream sampling locations. The area of the spill was cleaned following the incident. | 3f13ac88-eb6e-11e0-b8d8-000c29971acc | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 2018-08-07 | 1 | 1 | 0 | 0 | 0 | 0
2018-09-07 | 2018-09-07 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 166 Meadow Park Ln. SW - Atlanta | 13 | Fax sent 2018-09-08 | Raw Sewage |  | GA0039012 | Collection System | Ground |  | Grease |  |  | Alys Hannum | Alys Hannum | 9/8/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-12 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-20 | 2018-08-20 | Macon Water Authority (Rocky Creek WPCP) | Macon | Macon | 722 Old Lundy Road, MH ID 67045 | 405 |  | Raw Sewage | Wastewater Regulatory Program | GA0024546 | Collection System | Ditch |  | Grease |  |  | Juan Robles | Juan Robles | 8/22/2018 12:00:00 AM |  |  |  |  | 0 | Sabbath Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | After the blockage was removed, it was determined that the cause of this minor spill was grease. | Debris was removed and area was disinfected with lime. |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | 2018-08-22 | 0 | 1 | 0 | 0 | 0 | 0
2018-08-02 | 2018-08-02 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 231 Atlanta Ave. SE - Atlanta | 15 | Fax sent 2018-08-06 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Private Lateral | Ground |  | Unknown |  |  | Alys Hannum | Alys Hannum | 8/6/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Unknown. Not a city problem. | None. Not a city problem. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-07 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-09 | 2018-09-10 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 674 Waterford Rd. NW - Atlanta | 1800 | Fax sent 2018-09-10 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream | Stream | Debris |  |  | Alys Hannum | Alys Hannum | 9/10/2018 12:00:00 AM |  | 9/10/2018 12:00:00 AM |  |  | 1 | Sandy Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-11 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-11 | 2018-09-11 | Swainsboro, City of (Yam Grandy Creek WPCP) | Emanuel | Swainsboro | 34 Hickory Trace Circle - Swainsboro | 250 | Call made 2018-09-12 | Raw Sewage | Wastewater Regulatory Program | GA0039225 | Collection System | Ground |  | Grease |  | Alys Hannum | Alys Hannum |  | 9/12/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waterways. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease in the mainline | Line was cleared with jet truck and lime applied to spill. Spill contained on land. | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-18 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-14 | 2018-08-14 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 815 Peachtree Battle Ave. NW - Atlanta | 1000 | Fax sent 2018-08-15 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream | Shoreline | Equipment failure |  |  | Alys Hannum | Alys Hannum | 8/15/2018 12:00:00 AM |  | 8/14/2018 12:00:00 AM |  |  | 1 | Peachtree Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Equipment Failure | Crew made repairs to the by-pass pump. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-16 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-20 | 2018-09-20 | Rome, City of (Rome WRF) | Floyd |  | 350 Feet North of Pinson Road along the railroad tracks in the Village of Shannon. | 600 | Did not reach Waters of the State | Raw Sewage | Mountain District - Cartersville | GA0024112 | WWTP | Stream |  | Pipe failure |  | Tracy Feltman | Kathy Lewis | Tracy Feltman | 9/21/2018 12:00:00 AM | Coosa |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Small split in the sewer force main | This lift station has minimal activity. Sewage at the spill site was removed by a vac truck. Repairs are complete. | beec5611-d9d5-4915-abe3-0869ce733561 | beec5611-d9d5-4915-abe3-0869ce733561 | 452173e4-eb6e-11e0-b8d8-000c29971acc | 2018-09-25 | 1 | 0 | 0 | 0 | 0 | 0
2018-08-26 | 2018-08-26 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 2362 Dellwood Dr. NW - Atlanta | 10 | Fax sent 2018-08-27 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Debris |  |  | Alys Hannum |  | 8/27/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-27 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-13 | 2018-10-13 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Stone Mountain | 1058 Viking Drive | 4425 | fish kill possible | Raw Sewage | Wastewater Regulatory Program | GA0024147 | Collection System | Stream |  | Pipe failure |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 10/13/2018 7:44:00 PM | Ocmulgee |  |  |  | 1 | Snapfinger Creek | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | Break in main | replaced 8ft of 10in pipe to contain sewage |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-10-15 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-07 | 2018-08-07 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 8 Edwin Pl. NW - Atlanta | 820 | Fax sent 2018-08-08 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream | Stream | Debris |  |  | Alys Hannum | Alys Hannum | 8/8/2018 12:00:00 AM |  | 8/7/2018 12:00:00 AM |  |  | 1 | Proctor Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-08 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-22 | 2018-08-22 | Pepperell High School | Floyd |  | 3 Dragon Drive, Lindale, GA 30161 | 1800 |  | Raw Sewage | Mountain District - Cartersville | GAU060108 | N/A | Stream |  | Roots |  | Tracy Feltman | Kathy Lewis | Tracy Feltman | 9/5/2018 12:00:00 AM | Coosa |  |  |  | 1 | Silver Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Root mass in sewer line | Root mass was removed and pipe was reconnected | beec5611-d9d5-4915-abe3-0869ce733561 | beec5611-d9d5-4915-abe3-0869ce733561 | 452173e4-eb6e-11e0-b8d8-000c29971acc | 2018-09-05 | 1 | 0 | 0 | 0 | 0 | 0
2018-09-18 | 2018-09-18 | Columbus Water Works (South WRF) | Muscogee | Columbus | 255 Robert E. Lee Drive | 677 |  | Raw Sewage | Wastewater Regulatory Program | GA0020516 | Collection System | Stream |  | Equipment failure |  |  |  | Juan Robles | 9/18/2018 12:00:00 AM |  |  |  |  | 0 | Upatoi Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | A bll was leaking on an 8" pipe. | Once CWW repaired the bell and cleared the debris, the overflow stopped. |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 |  | 2018-09-20 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-08 | 2018-09-08 | Swainsboro, City of (Yam Grandy Creek WPCP) | Emanuel | Swainsboro | Lift Station 13 - Hwy 80 & Hwy 56. | 3600 | Phone call received 2018-09-10. Email received 2018-09-11 | Raw Sewage | Wastewater Regulatory Program | GA0039225 | Pump Station | Ground |  | Pipe failure |  | Alys Hannum | Alys Hannum | Alys Hannum | 9/10/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waterways. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Ruptured force main | Damaged line was repaired, powdered lime was applied to spill site. | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-11 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-10 | 2018-09-10 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 2852 Cascade Rd. SW - Atlanta | 144 | Fax sent 2018-09-11 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream | Stream | Pipe failure |  |  | Alys Hannum | Alys Hannum | 9/11/2018 12:00:00 AM |  | 9/10/2018 12:00:00 AM |  |  | 1 | Utoy Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Section of pipe was leaking. | Crew performed a point repair. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-11 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-13 | 2018-08-14 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | EDIT - PRIVATE 1870 Johnson Rd. NW - Atlanta | 1250 | Fax sent 2018-08-15 UPDATE sent 2018-08-17 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Private Lateral | Stream | Stream | Debris |  | Alys Hannum |  | Alys Hannum | 8/15/2018 12:00:00 AM |  | 8/13/2018 12:00:00 AM |  |  | 1 | Proctor Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | EDIT - PRIVATE Debris in the mainline | EDIT - PRIVATE Crew used a hydraulic pressure cleaner to contain the spill | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d |  | 2018-08-16 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-02 | 2018-10-02 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 2300 Defoor Hills Rd. NW - Atlanta | 240 | Fax sent 2018-10-03 | Raw Sewage | Wastewater Regulatory Program | GA0039012 |  | Stream | Stream | Debris |  |  | Alys Hannum | Alys Hannum | 10/3/2018 12:00:00 AM |  | 10/2/2018 12:00:00 AM |  |  | 1 | Peachtree Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-10-09 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-08 | 2018-09-08 | Warm Springs, City of (Warm Springs WPCP) | Meriwether |  |  | 100000 |  | Raw Sewage | West Central District | GA0001601 | Lift Station | Stream | Stream | Equipment failure |  | Stephanie Edwards | Stephanie Edwards | Stephanie Edwards | 9/8/2018 12:00:00 AM | Flint |  | 2018-09-08 |  | 1 | Cold Springs Creek | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 |  | 0 |  |  | 426838fe-eb6e-11e0-b8d8-000c29971acc | 426838fe-eb6e-11e0-b8d8-000c29971acc | 426838fe-eb6e-11e0-b8d8-000c29971acc | 2018-09-19 | 0 | 1 | 0 | 0 | 0 | 0
2018-08-27 | 2018-08-27 | Waycross, City of (Waycross WPCP) | Ware | Waycross | Manhole overflowed at the intersection of Alpha Street and Ethel Street in Waycross, Georgia. | 7500 | Notification was also provided to the City of Waycross television station (channel 10) and the Waycross Journal Herald. Joel Hall reported during the initial call to the after hours number that no distressed aquatic life was observed. | Raw Sewage | Coastal District | GA0020966 | Collection System | Storm Drain | Stream | Wet weather |  | Brett Berry | Brett Berry | Brett Berry | 8/27/2018 8:25:00 PM | Satilla | 8/28/2018 12:00:00 AM |  |  | 1 | Tributary D Waycross Drainage Canal | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 |  | 0 | Root cause of the spill was due to unusually high flows experienced in this portion of the sewer collection system - exacerbated by higher than usual flows system-wide in the collection system due to rainfall related I/I issues typical with aging infrastructure. Upon subsequent inspection of the upstream lift station records, it was found that the run times on both pumps at the Garlington Lift Station on the day of the spill were approximately double the average week day run times. | Crew checked other downstream manholes in the collection system and found that levels were generally high throughout the system and no specific blockage was located. By 6:15 PM the flow stabilized and the manhole was no longer overflowing. The City's vacuum truck was mobilized to pump out the catch basins at Alplha Street and Ethel Street and at Alpha and Crawford Street. Signs were posted at the spill site and the locations where the sewage entered the storm water system (catch basins) and Tributary D of the Waycross Drainage Canal. | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 2018-08-31 | 1 | 1 | 0 | 0 | 0 | 0
2018-10-04 | 2018-10-04 | LaGrange, City of (Long Cane Creek WPCP) | Troup | LaGrange | King Arthur Lift Station. | 45000 |  | Raw Sewage | Wastewater Regulatory Program | GA0036951 | Lift Station | Stream | Stream | Equipment failure |  |  | Juan Robles | Juan Robles | 10/3/2018 12:00:00 AM |  | 10/2/2018 12:00:00 AM |  |  | 0 | Pepperell Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | The excavation to unearth a "quick connect" valve had filled up with a combination of ground water and sewage that flowed to the creek. | Corroded pipes were replaced. |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | 2018-10-09 | 0 | 1 | 0 | 0 | 0 | 0
2018-10-05 | 2018-10-05 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 876 Plainville Pl. SW - Altanta | 380 | Fax sent 2018-10-06 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream | Stream | Debris |  |  | Alys Hannum | Alys Hannum | 10/6/2018 12:00:00 AM |  | 10/5/2018 12:00:00 AM |  |  | 1 | Utoy Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-10-09 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-02 | 2018-08-09 | Patterson, City of (Patterson WPCP) | Pierce | Patterson | Manhole located on Dallas St. & Hwy. 32, Williams St. and Echols St. | 4000 |  | Raw Sewage | Coastal District | GA0037206 | Collection System | Ditch | Ditch | Wet weather |  | Brett Berry | Brett Berry | Brett Berry | 8/3/2018 10:00:00 AM | Satilla | 8/7/2018 12:00:00 AM |  |  | 1 | Patterson Creek | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Spill occurred following heavy rainfall of 2.5 inches in less than thirty minutes. | Signage placed at the location of the spill site. Local health dept and local media are being notified. | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 91d74c2a-ab08-44d3-9b9c-81c0cd32b281 | 2018-08-07 | 0 | 1 | 0 | 0 | 0 | 0
2018-08-30 | 2018-08-30 | Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | Clayton | Clayton | 965 Jester Creek CT. Manhole 2206973 | 6000 |  | Raw Sewage | Wastewater Regulatory Program | GA0038423 | Collection System | Stream |  | Pipe failure |  |  | Juan Robles | Juan Robles | 8/31/2018 12:00:00 AM | Flint |  |  |  | 0 | Flint | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Structural collapse of a sewer pipe. | Damaged pipe was repaired. |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | 2018-09-04 | 0 | 1 | 1 | 0 | 0 | 0
2018-08-13 | 2018-08-13 | Valdosta, City of (Mud Creek WPCP) | Lowndes | Valdosta | 1638 New Statenville Hwy - Mud Creek WPCP - Valdosta | 135000 | Phone call received 2018-08-13 | Undisinfected Primary Effluent | Wastewater Regulatory Program | GA0020222 | WWTP | Stream | Stream | Hydraulic Overload |  | Alys Hannum | Alys Hannum | Alys Hannum | 8/13/2018 12:00:00 AM |  |  |  |  | 1 | Knight's Creek/Pond | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | "After a quick assessment, we discovered a clogged effluent screen on the east train secondary clarifier. Due to excessive flow thru the clarifier, algae had sloughed off the weirs and clogged the drain. The water level in the clarifier had risen above the weirs and was draining into the scum pit. At this point, the flow overcame the scum pit pumps and the clarifier effluent overflowed from the pit into a nearby retention pond that drains to Knight’s Creek." | "After cleaning the screen, clarifier levels returned to normal at 11:30 pm. We informed our Environmental Manager of the overflow, who immediately began sampling and monitoring the effected stream. To prevent an overflow of this type from occurring again, we added procedures to monitor clarifier effluent drains more frequently and will also increase cleaning frequency. " | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-24 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-22 | 2018-08-22 | Paulding County (Coppermine Road WPCP) | Paulding |  | East Paulding Lift Station, 1541 East Paulding Drive | 10000 |  | Raw Sewage | Mountain District - Cartersville | GA0038865 | WWRF | Stream |  | Power failure |  | Katie Meade | Kathy Lewis | Katie Meade | 8/22/2018 12:00:00 AM | Chattahoochee |  |  |  | 1 | Tributary of Possum Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Power surge caused station breaker to flop and generator failed to come on | Turned breaker back on, will have generator serviced as well as troubleshoot to see what caused the original power surge. Cleaned up debris, washed down station and placed lime on affected areas. | 77e9b2a3-e985-4535-b5df-da199a9c72b6 | 77e9b2a3-e985-4535-b5df-da199a9c72b6 | 452173e4-eb6e-11e0-b8d8-000c29971acc | 2018-08-23 | 1 | 0 | 0 | 0 | 0 | 0
2018-09-06 | 2018-09-06 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 2504 Campbellton Rd. SW - Atlanta | 3 | Fax sent 2018-09-07 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream |  | Pipe failure |  |  | Alys Hannum | Alys Hannum | 9/7/2018 12:00:00 AM |  |  |  |  | 1 | S. Utoy Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Pipe was leaking | Crew performed a point repair |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-07 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-22 | 2018-08-22 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 2900 Landrum Dr. SW - Atlanta | 8 | Fax sent 2018-08-23 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Debris |  |  |  | Alys Hannum | 8/23/2018 12:00:00 AM |  |  |  |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d |  | 2018-08-24 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-25 | 2018-09-25 | Gwinnett County (F. Wayne Hill WRC) | Gwinnett | Lawrenceville | 1685 Old Norcross Rd. - Lawrenceville | 6332 | Fax sent 2018-09-25 | Raw Sewage | Wastewater Regulatory Program | GA0038130 | Collection System | Stream | Stream | Grease |  |  | Alys Hannum | Alys Hannum | 9/26/2018 12:00:00 AM |  | 9/25/2018 12:00:00 AM |  |  | 1 | Yellow River | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease | Raked area and spread lime; placed signs at spill and waterway. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-25 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-28 | 2018-08-28 | Buford, City of (Southside WPCP) | Gwinnett | Buford | 2045 Buford Highway & 2033 Buford Highway - Buford | 9999 | Volume reported as "<10,000" Call made 2018-08-29 | Raw Sewage | Wastewater Regulatory Program | GA0023167 | Collection System | Ground |  | Debris |  | Reginald Williamson | Alys Hannum | Alys Hannum | 8/29/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Sediment in the mainline | Cleared blockage, washed line. Vacuumed sediment. | 33e4b44c-ee02-11e0-b8d8-000c29971acc | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-30 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-24 | 2018-09-24 | Athens-Clarke County (North Oconee WPCP) | Clarke | Athens | 1270 Voyles Road | 454 |  | Raw Sewage | Wastewater Regulatory Program | GA0021725 |  | Stream |  | Rags |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 9/24/2018 12:00:00 AM | Oconee |  |  |  | 0 | East Fork Trail Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | rags and diapers | rodded |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-09-28 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-02 | 2018-08-02 | Winder, City of (Cedar Creek WPCP) | Barrow | Winder | 6 Lee Street - Winder | 4500 | Fax sent 2018-08-02 | Raw Sewage | Wastewater Regulatory Program | GA0038776 | Collection System | Stream | Stream | Grease |  |  | Alys Hannum | Alys Hannum | 8/2/2018 12:00:00 AM |  | 8/3/2018 12:00:00 AM |  |  | 1 | Unnamed Trib. to Fort Yargo Lake | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease blockage, intensified by heavy rain/ I&I moving aggregate through the collection system. | Jetted main to remove blockage; removed aggregate and grease; sanitized area with powdered lime; CCTV'ed. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-08 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-11 | 2018-09-11 | Augusta, City of (J.B. Messerly WPCP) | Richmond | Augusta | 1820 Doug Barnard Parkway - Messerly WPCP | 176040 | Email sent 2018-09-12 | Raw Sewage | Wastewater Regulatory Program | GA0037621 | WWTP | Stream |  | Equipment failure |  |  | Alys Hannum | Alys Hannum | 9/12/2018 12:00:00 AM |  |  |  |  | 1 | Butler Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | Control power failure caused half the main influent pumps to go offline. Combination of high flows and reduced pumping capacity resulted in an overflow. | Control power issues corrected. Plant personnel are reviewing the control wiring to determine modifications to prevent a recurrence. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-14 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-27 | 2018-08-28 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 43 Mildred Pl. NW - Atlanta | 408 | Fax sent 2018-08-28 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream |  | Debris |  |  | Alys Hannum | Alys Hannum | 8/28/2018 12:00:00 AM |  |  |  |  | 1 | Proctor Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-28 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-27 | 2018-08-27 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 3130 Parrott Ave. NW - Atlanta | 7000 | Fax sent 2018-08-28 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Equipment failure |  |  | Alys Hannum | Alys Hannum | 8/28/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Equipment failure at pump station. | Repairs made. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-28 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-27 | 2018-09-27 | Rockdale County (Quigg Branch WPCP) | Rockdale |  | 764 Sugar Hill Lane | 8580 |  | Raw Sewage | Wastewater Regulatory Program | GA0047678 | Collection System | Stream | Stream | Pipe failure |  | Reginald Williamson | Reginald Williamson | Reginald Williamson | 9/27/2018 12:00:00 AM | Ocmulgee |  |  |  | 0 | McClane Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Tree Fell on Aerial Pipe Causing pipe to collapse |  | 33e4b44c-ee02-11e0-b8d8-000c29971acc | 33e4b44c-ee02-11e0-b8d8-000c29971acc | 33e4b44c-ee02-11e0-b8d8-000c29971acc | 2018-10-09 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-03 | 2018-09-03 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 809 Peachtree Battle Ave. NW - Atlanta | 2600 | Fax sent 2018-09-04 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream | Stream | Equipment failure |  |  | Alys Hannum | Alys Hannum | 9/4/2018 12:00:00 AM |  | 9/3/2018 12:00:00 AM |  |  | 1 | Peachtree Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Pump malfunction | Crew made mechanical repairs |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-04 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-22 | 2018-08-22 | Dalton Utilities (Riverbend WPCP) | Whitfield |  | 1228 N. Thornton Avenue, Dalton | 4200 |  | Raw Sewage | Mountain District - Cartersville | GAJ020056 | WWTP | Stream |  | Roots |  | Tracy Feltman | Kathy Lewis | Tracy Feltman | 8/23/2018 12:00:00 AM | Coosa |  |  |  | 1 | Unnamed tributary of Mill Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Roots in main | Dalton Utilities cleared blockage with high pressure jet. Line was camera inspected. Location will be earmarked for proactive preventative root maintenance. | beec5611-d9d5-4915-abe3-0869ce733561 | beec5611-d9d5-4915-abe3-0869ce733561 | 452173e4-eb6e-11e0-b8d8-000c29971acc | 2018-08-23 | 1 | 0 | 0 | 0 | 0 | 0
2018-10-01 | 2018-10-01 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Decatur | 2460 Park Central Boulevard Decatur GA 30035 | 28140 | manhole 16-040-s022 spilling | Raw Sewage | Wastewater Regulatory Program | GA0024147 |  |  |  | Debris |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 10/2/2018 10:03:00 AM | Ocmulgee |  |  |  | 1 | Panthers Branch | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | debris blockage | Root ct sewer main and cleared degbris |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-10-09 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-02 | 2018-08-02 | Forsyth County (Fowler & Shakerag WRF) | Fulton | Cumming | 6150 Vista Crossing Way - Cumming | 20 | Email sent 2018-08-03 | Raw Sewage | Wastewater Regulatory Program | GA0038954 | Pump Station | Ground |  | Equipment failure |  |  | Alys Hannum | Alys Hannum | 8/3/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Broken valve on low pressure system | Turned off pump, replaced valve, vac'ed up liquids and limed area. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-03 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-09 | 2018-08-09 | Cleveland, City of (Cleveland WPCP) | White |  | Manhole at 1114 Campbell Street, Cleveland | 500 | Untreated wastewater leached into the stream buffer around the manhole. | Raw Sewage | Mountain District - Cartersville | GA0036820 | WWTP | Ground, Storm Drain |  | Wet weather |  | Matthew Stickney | Kathy Lewis | Katie Meade | 8/10/2018 12:00:00 AM | Chattahoochee |  |  |  | 0 | na | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris and waste blocked sewer line. Leak around manhole. Localized storm event and associated flooding/infiltration into system. | Cleared line of debris. Cleaned up overflow area with lime. | 77dbdd3c-0b48-49c2-b623-a78b1b0170cf | 77e9b2a3-e985-4535-b5df-da199a9c72b6 | 452173e4-eb6e-11e0-b8d8-000c29971acc | 2018-08-14 | 1 | 0 | 0 | 0 | 0 | 0
2018-09-21 | 2018-09-21 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 71 Johnson Rd. NW - Atlanta | 25 | Fax sent 2018-09-21 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Grease |  |  | Alys Hannum | Alys Hannum | 9/21/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease in the mainline | Crew used a hydraulic pressure cleaner to contain the spill. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-21 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-02 | 2018-08-23 | Cave Spring, City of (Cave Spring WPCP) | Floyd |  | Little Cedar flowing through the middle of town en route to Big Cedar | 9600 |  | Raw Sewage | Mountain District - Cartersville | GA0025721 | WWTP | Stream |  | Wet weather |  | Tracy Feltman | Kathy Lewis | Tracy Feltman | 8/6/2018 12:00:00 AM | Coosa |  |  |  | 1 | Little Cedar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Greater than 8 inches of rain |  | beec5611-d9d5-4915-abe3-0869ce733561 | beec5611-d9d5-4915-abe3-0869ce733561 | 452173e4-eb6e-11e0-b8d8-000c29971acc | 2018-08-23 | 1 | 0 | 0 | 0 | 0 | 0
2018-10-02 | 2018-10-02 | Athens-Clarke County (North Oconee WPCP) | Clarke | Athens | 307 Hampton Park Dr | 27 |  | Raw Sewage | Northeast District - Athens | GA0021725 | Collection System | Stream |  | Rags |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 10/2/2018 12:00:00 AM | Oconee |  |  |  | 1 | Middle Oconee River | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | rags | rodded line |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-10-09 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-19 | 2018-08-19 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 1814 Peachtree St. NW - Atlanta | 2770 | Email sent 2018-08-20 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream | Stream | Pipe failure |  |  | Alys Hannum | Alys Hannum | 8/20/2018 12:00:00 AM |  | 8/19/2018 12:00:00 AM |  |  | 1 | Peachtree Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Collapsed mainline | Crew used a by-pass pump |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-24 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-26 | 2018-08-26 | Forsyth County (Fowler & Shakerag WRF) | Forsyth | Cumming | 6190 Parkway North Drive | 5 | Email sent 2018-08-26 UPDATE email sent 8-28 | Raw Sewage | Wastewater Regulatory Program | GA0038954 | Collection System | Ground |  | Debris |  |  | Alys Hannum |  | 8/26/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Blockage in lateral | Jetted sewer lateral, cleaned up solids, spread lime, notification sent. |  |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-27 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-20 | 2018-08-20 | Albany, City of (Joshua Street WPCP) | Dougherty | Albany | Manhole approx. 100 feet south of Oglethorpe Blvd. bridge (cross street College Drive). | 29700 |  | Raw Sewage | Wastewater Regulatory Program | GA0037222 | Collection System | Other | Shoreline | Wet weather |  |  | Juan Robles | Juan Robles | 8/21/2018 12:00:00 AM | Flint | 8/21/2018 12:00:00 AM | 2018-08-21 |  | 0 | Flint River | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | Heavy rain of 0.51" in 15 minutes according to USGS river gage. | Bypass pump was started and overflow was stopped. |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | 2018-09-06 | 0 | 1 | 0 | 0 | 0 | 0
2018-10-12 | 2018-10-12 | Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | Clayton | Forest Park | 5215 West Street | 11500 |  | Raw Sewage | Wastewater Regulatory Program | GA0038423 | Collection System | Stream |  | Grease |  |  | Juan Robles |  | 10/12/2018 12:00:00 AM | Flint |  |  |  | 0 | Jester Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease blockage. | Blockage was cleared and flow returned to normal. |  |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | 2018-10-15 | 0 | 1 | 0 | 0 | 0 | 0
2018-08-03 | 2018-08-03 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 2640 Jonesboro Road - South River WRC - Atlanta | 40120000 | This spill is also entered as a violation. | Treated Effluent | Wastewater Regulatory Program | GA0039012 | WWTP | Stream | Stream | Wet weather |  |  | Alys Hannum | Alys Hannum | 8/6/2018 12:00:00 AM |  | 8/4/2018 12:00:00 AM |  |  | 1 | Chattahoochee River | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | South River Major TSS Spill From midnight August 3 to midnight August 4, City of Atlanta had a passive bypass of the sand filters that resulted in a major spill for TSS to the Chattahoochee River. August 4 TSS - 34 mg/L Permit Limit = 15 mg/L | Seeking additional landfill options for the removal of solids |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-10 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-29 | 2018-08-29 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 1994 Bent Creek Wy. SW - Atlanta | 1493 | Fax sent 2018-08-31 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream | Stream | Pipe failure |  |  | Alys Hannum | Alys Hannum | 8/31/2018 12:00:00 AM |  | 8/29/2018 12:00:00 AM |  |  | 1 | Utoy Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Section of the pipe encased in concrete was leaking | Crew performed a point repair |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-04 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-14 | 2018-08-23 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Atlanta | 2533 Henderson Mill Road Atlanta GA 30345 | 9566 | Discovered 8/23/18, source tracking to the 14th. | Raw Sewage | Wastewater Regulatory Program | GA0024147 | Collection System | Stream |  | Pipe failure |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 8/23/2018 8:14:00 AM | Ocmulgee |  |  |  | 1 | Henderson Mill Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | cracked pipe | made 4 ft repair to stop spill |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-08-30 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-02 | 2018-10-02 | LaGrange, City of (Long Cane Creek WPCP) | Troup | LaGrange | King Arthur Lift Station | 4000 |  | Raw Sewage | Wastewater Regulatory Program | GA0036951 | Lift Station | Stream | Stream | Pipe failure |  |  | Juan Robles | Juan Robles | 10/3/2018 12:00:00 AM |  |  |  |  | 0 | Pepperell Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Piping failure caused pumped wastewater to fall right back into the wet well causing a back-up up the line feeding the wet well. | The pump with the pipe failure was shut off and switched over to the second pump. |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | 2018-10-03 | 0 | 1 | 0 | 0 | 0 | 0
2018-08-20 | 2018-08-20 | Dekalb County (Snapfinger Creek WPCP) | DeKalb | Conley | 2091 Blue Creek Court Conley GA 30288 | 960 | manhole 15-043-s145 spilling | Raw Sewage | Wastewater Regulatory Program | GA0024147 | Collection System | Stream |  | Grease |  |  | Dillon Rodenbaugh | Dillon Rodenbaugh | 8/20/2018 5:40:00 PM | Ocmulgee |  |  |  | 1 | Blue Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease | Pressure washed line |  | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 7c4cea05-f09f-4f0a-b5b3-88ce2875d2e9 | 2018-08-28 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-08 | 2018-08-08 | Pine Mountain, Town of (Pine Mountain WPCP) | Harris |  |  | 500 |  | Raw Sewage | West Central District | GA0025691 | Lift Station | Stream | Stream | Equipment failure |  |  |  | Stephanie Edwards | 8/8/2018 12:00:00 AM | Chattahoochee |  |  |  | 0 | Crawford Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  |  |  | 426838fe-eb6e-11e0-b8d8-000c29971acc |  | 2018-08-08 | 0 | 0 | 0 | 0 | 0 | 0
2018-08-09 | 2018-08-10 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 2640 Jonesboro Road - South River WRC - Atlanta | 31330000 | This spill is also entered as a violation. | Treated Effluent |  | GA0039012 | WWTP | Stream | Stream | Wet weather |  |  | Alys Hannum | Alys Hannum | 8/15/2018 12:00:00 AM |  | 8/9/2018 12:00:00 AM |  |  | 1 | Chattahoochee River | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | South River Major TSS Spill The 24-hour composite samples collected at South River had the following concentrations: August 10 TSS - 46 mg/L Permit Limit = 15 mg/L | Seeking additional landfill options for the removal of solids. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-22 | 0 | 0 | 0 | 0 | 0 | 1
2018-08-07 | 2018-08-07 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 2900 Landrum Dr. SW - Atlanta | 3120 | Fax sent 2018-08-07 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Stream | Stream | Debris |  |  | Alys Hannum | Alys Hannum | 8/8/2018 12:00:00 AM |  | 8/7/2018 12:00:00 AM |  |  | 1 | Utoy Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-08-08 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-09 | 2018-09-09 | Atlanta, City of (R.M. Clayton, Utoy Creek, and South River WRCs) | Fulton | Atlanta | 1300 Joseph E Boone Blvd - Atlanta | 5 | Fax sent 2018-09-10 | Raw Sewage | Wastewater Regulatory Program | GA0039012 | Collection System | Ground |  | Debris |  |  | Alys Hannum | Alys Hannum | 9/10/2018 12:00:00 AM |  |  |  |  | 0 | Did Not Enter State Waters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Debris in the mainline | Crew used a hydraulic pressure cleaner to contain the spill |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-11 | 0 | 0 | 0 | 0 | 0 | 0
2018-09-20 | 2018-09-20 | Augusta, City of (J.B. Messerly WPCP) | Richmond | Augusta | 2785 Davis Mill Rd. - Augusta | 3100 | Email sent 2018-09-21 | Raw Sewage | Wastewater Regulatory Program | GA0037621 | Collection System | Stream |  | Debris |  |  | Alys Hannum | Alys Hannum | 9/21/2018 12:00:00 AM |  |  |  |  | 1 | Spirit Creek | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Rags and Debris in the invert | Large handle hook used to remove blockage. Manhole cleaned, curb and gutter washed down, storm drain flushed and vacuumed out. |  | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 1c349d21-bd7e-4a44-b736-f5f5a1547d2d | 2018-09-25 | 0 | 0 | 0 | 0 | 0 | 0
2018-10-03 | 2018-10-03 | Douglasville, City of (South Central WPCP) | Douglas | Douglasville | Manhole #8962-7069 Stonecreek Dr., Douglasville GA 30134 | 5400 |  | Raw Sewage | Wastewater Regulatory Program | GA0038709 | Collection System | Stream |  | Grease |  |  | Juan Robles |  | 10/3/2018 12:00:00 AM |  |  |  |  | 0 | Mill Creek | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | Grease and possible separated joint. | -Vac truck crew was dispatched and were able to clear blockage. -Crews disinfected and cleaned the area around the manhole where the spill occurred. -Signs were posted in the area. -Notification to EPD, Health Department |  |  | bcdfb198-48ad-4ddc-9115-cb2fb017cce4 | 2018-10-09 | 0 | 1 | 0 | 0 | 0 | 0