## Sheet1
Posting Date | 2025-03-17
FACILITY_NAME | BEGIN_DATE | COUNTY | CITY | OVERFLOW_LOCATION | QUANTITY_GALLONS | OVERFLOW_TYPE | PERMIT_NUMBER | SPILL_SOURCE | CAUSE | RIVER_BASIN | WATERWAY_IMPACTED
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-15 | DeKalb | Decatur | 3521 Oakvale Rd Decatur 30034 | 4275 | Raw Sewage | GA0024147 | Collection System | Found manhole 15-57-s004 spilling into South River due to a grease blockage | Ocmulgee | South River
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-14 | DeKalb | Atlanta | 2603 Rockcliff Rd Atlanta 30316 | 3000 | Raw Sewage | GA0024147 | Collection System | Found manhole #15-115-s201 with evidence of a sewer spill due to an unknown blockage | Ocmulgee | Sugar Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-14 | DeKalb | Stone Mountain | 997 N Hairston Rd Stone Mountain 30083 | 0 | Raw Sewage | GA0024147 | Collection System | Found private manhole 18-091-p026 spilling into snapfinger creek due to an unknown blockage | Ocmulgee | Snapfinger Creek
Macon Water Authority (Rocky Creek WRF) | 2025-03-13 | Bibb | Macon | 3250 Ingleside Ave. | 1480 | Raw Sewage | GA0024546 | Collection System | Debris caused overflow. | Ocmulgee | Ditch feeding Bowman Branch
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-13 | DeKalb | Atlanta | 1659 Briarcliff Rd Atlanta 30306 | 300 | Raw Sewage | GA0024147 | Collection System | Found 24in creek crossing with evidence of a sewer spill due to structural damage | Ocmulgee | South Fork Peachtree Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-12 | DeKalb | Tucker | 4259 Drayton Woods Club Tucker 30084 | 19280 | Raw Sewage | GA0024147 | Collection System | Found 15in sewer main spilling into south fork peachtree creek due to a broken main | Ocmulgee | South Fork Peachtree Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-12 | DeKalb | Stone Mountain | 5448 East Ponce De Leon Ave Stone Mountain 30083 | 0 | Raw Sewage | GA0024147 | Collection System | Found 8in private creek crossing spilling into south fork peachtree creek due to a structural damage | Ocmulgee | South Fork Peachtree Creek
Paulding County Board of Commissioners (Coppermine Road WRF) | 2025-03-11 | Paulding | Dallas | Mt. Tabor ridge LS. This is a new LS no address has been assigned to it yet. Located on River Bank Ct. Dallas, Ga. 30132. | 16000 |  | GA0038865 | WWTP | Electric failure of LS, bypass pump failed to turn on. This LS is new and has not been turned over to the county. It is being operated by the contractor Strack. Inc. Most of the debris was contained by silt fence and did not enter the creek. | Coosa | Tributary to Possum Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-11 | DeKalb | Lithonia | 2040 Young Rd Lithonia 30058 | 1700 | Raw Sewage | GA0024147 | Collection System | Found evidence of a spill at manhole #16-060-s074 caused by a grease blockage | Ocmulgee | Pole Bridge Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-11 | DeKalb | Clarkston | 3878 Nielson Ct Clarkston 30021 | 50 | Raw Sewage | GA0024147 | Collection System | Found 6in clean out surcharging with evidenced of an overflow due to a vandalism | Ocmulgee | Did Not Enter State Waters
Saint Marys, City of (Point Peter WPCP) | 2025-03-10 | Camden | St. Marys | 104 Long Wood (30.7473600,-81.5904594) | 1000 |  | GA0039047 | Collection System | An obstruction in the sewer line blocked the pipe. | Saint Mary's | Dark Entry Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-10 | DeKalb | Ellenwood | 4457 Equity Ct Ellenwood 30294 | 5800 | Raw Sewage | GA0024147 | Collection System | Found the 4in force main spilling into corn creek caused by broken section of the main | Ocmulgee | Corn Creek
Saint Marys, City of (Point Peter WPCP) | 2025-03-10 | Camden | St. Marys | Lift Station 42 | 35000 |  | GA0039047 | Lift Station | Heavy rainfall inundated the sewer system. | Saint Mary's | Dark Entry Creek
CHEROKEE COUNTY WATER & SEWER AUTHORITY (ROSE CREEK WPCP) | 2025-03-09 | Cherokee | Woodstock | 7081 Hickory Flat Highway Woodstock | 18870 |  | GA0046451 | WWTP | Blockage in sewer line | Coosa | Unnamed tributary to Mill Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-06 | DeKalb | Lithonia | 5476 Winslow Crossing Lithonia 30038 | 10 |  | GA0024147 | Collection System | Found evidence of an overflow at the 4in private cleanout caused by an unknown blockage | Ocmulgee | Did Not Enter State Waters
Utilities, Inc. of Georgia (Big Canoe WPCP) | 2025-03-06 | Pickens | Jasper | Inside gates at Buckskull Facility | 50 |  | GA0030252 | WWTP | Weather related wind broke skimmer basket and fell into clarifier and stopped sweep arm | Coosa | Did not enter state waters
Dallas, City of (Pumpkinvine Creek WPCP) | 2025-03-06 | Paulding | Dallas | Near 151 West Paulding Blvd. Dallas, GA 30132 | 1500 |  | GA0039241 | WWTP | Force main failure | Coosa | Did not enter state waters
Fulton County Department of Public Works (Big Creek WRF) | 2025-03-05 | Fulton | South Fulton | 5300 Fulton Industrial Blvd. | 750 | Raw Sewage | GA0024333 | Collection System | Line Failure due to Storm Debris | Chattahoochee | Utoy Creek
Cobb County Water System (R.L. Sutton WRF) | 2025-03-05 | Cobb | Marietta | 2404 Mirrabeau CT, Marietta, GA 30066 | 420 | Raw Sewage | GA0026140 | Collection System | Rags | Chattahoochee | Little Noonday Creek
Douglasville-Douglas County Water & Sewerage Authority (South Central WPCP) | 2025-03-05 | Douglas | Douglasville | 5864 West Yeager Rd. | 42000 | Raw Sewage | GA0038709 | Pump Station | Heavy storm in area caused power outages and breakers to trip at the pump station | Chattahoochee | Little Bear Creek
Fulton County Department of Public Works (Big Creek WRF) | 2025-03-05 | Fulton | Union City | 7430 Oakley Road Union City, GA 30291 | 980 | Raw Sewage | GA0024333 | Collection System | Grease and Debris Accumilation | Chattahoochee | Tributary of Morning Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-05 | DeKalb | Chamblee | 3041 Northeast Expressway Chamblee 30341 | 7640 | Raw Sewage | GA0024147 | Collection System | Found 8in main sewer spilling into North Fork Peachtree Creek due to bank erosion | Chattahoochee | North Fork Peachtree Creek
Fulton County Department of Public Works (Big Creek WRF) | 2025-03-04 | Fulton | Alpharetta | 12655 Edison Dr. Alpharetta, GA 30005 | 9760 | Raw Sewage | GA0024333 | Collection System | Root Intrusion | Chattahoochee | Morning Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-04 | DeKalb | Stone Mountain | 5508 Stonehaven Way Stone Mountain 30087 | 0 | Raw Sewage | GA0024147 | Collection System | Found evidence of an overflow from a septic tank leaking due to an unknown blockage | Ocmulgee | Did Not Enter State Waters
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-04 | DeKalb | Atlanta | 3330 Northlake Parkway, Atlanta, 30345 | 3180 | Raw Sewage | GA0024147 | Collection System | Found manhole #18-210-p129 spilling into storm drain due to a grease blockage | Ocmulgee | Henderson Mill Creek
Cobb County Water System (R.L. Sutton WRF) | 2025-03-03 | Cobb | Marietta | 1210 Kennestone Cir | 270 | Raw Sewage | GA0026140 | Collection System | Debris | Chattahoochee | Noonday Creek
Cumming, City of (Bethelview Road WPCP) | 2025-03-03 | Forsyth | Cumming | 3410 Castleberry Village | 4050 | raw sewage | GA0046019 | Collection System | PVC pipe, rocks, grease, and flushable wipes causing a partial blockage | Chattahoochee | Orr Creek
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2025-03-02 | Gwinnett | Lawrenceville | 158 Paper Mill Rd- Lawrenceville | 1763 | raw sewage | GA0038130 | Collection System | debris- rocks or construction material | Upper Ocmulgee | unnamed tributary of Shoal Creek
Cobb County Water System (R.L. Sutton WRF) | 2025-03-02 | Cobb | Marietta | 1792 County Services Pkwy; 790 gallons; Olley Creek | 790 | Raw Sewage | GA0026140 | Collection System | Grease | Chattahoochee | Olley Creek
Cobb County Water System (R.L. Sutton WRF) | 2025-03-01 | Cobb | Marietta | 900 Shaw Park Rd NE | 740 | Raw Sewage | GA0026140 | Collection System | Rags | Chattahoochee | Noonday Creek
Carrollton, City of (Carrollton WPCP) | 2025-02-28 | Carroll | Carrollton | 116 Brock St. | 2310 | Raw Sewage | GAJ020126 | Collection System | Debris caused overflow. CTS #111919 | Tallapoosa | Unnamed tributary to Buffalo Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-28 | DeKalb | Tucker | 4259 Drayton Woods Club Tucker 30084 | 24150 | Raw Sewage | GA0024147 | Collection System | Found manhole 18-140-s210 surcharging due to an unknown blockage in 15in sewer main, causing sewer to spill intermittently into South Fork Peachtree Creek through sewer main joint. | Ocmulgee | South Fork Peachtree Creek
Warner Robins, City of (Sandy Run Creek WPCP) | 2025-02-28 | Houston | Warner Robins | 358 Old Perry Rd | 400 | raw sewage | GA0030325 | Collection System |  | Flint | did not enter state waters
Fulton County Department of Public Works (Big Creek WRF) | 2025-02-27 | Fulton | Johns Creek | 10145 Haynes Bridge Road | 1880 | Raw Sewage | GA0024333 | Collection System | Grease Accumilation | Chattahoochee | Tributary to Big Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-27 | DeKalb | Chamblee | 2747 Shallowford Rd Chamblee 30341 | 1700 | Raw Sewage | GA0024147 | Collection System | Found manhole #18-246-s041 spilling into North Fork Peachtree Creek due to a grease blockage | Chattahoochee | North Fork Peachtree Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-27 | DeKalb | Stone Mountain | 4355 Autumn Hill Dr Stone Mountain 30083 | 21150 | Raw Sewage | GA0024147 | Collection System | Found 8in creek crossing broken and spiling into Snapfinger Creek due to a structural defect | Ocmulgee | Snapfinger Creek
Dallas, City of (Pumpkinvine Creek WPCP) | 2025-02-26 | Paulding | Dallas | Between MH# 5556 and 5496– Near 225 Brookside Dr. Dallas, GA 30132 | 600 |  | GA0039241 | WWTP | Joint failure on the main sewer line. | Coosa | Griffin Creek
Rome, City of (Rome WRF) | 2025-02-26 | Floyd | Rome | Behind 22 Tamassee Lane (Tamassee Lane Apartments) | 5000 |  | GA0024112 | WWTP | Vandalism. Upon our arrival our crew jetted the main and got the line flowing enough to stop the overflow. We discovered that there were limbs, pieces of concrete, and a section of 12 inch plastic pipe obstructing the flow. | Coosa | Did not enter state waters
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-26 | DeKalb | Decatur | 1712 Scott Boulevard Decatur 30033 | 18895 | Raw Sewage | GA0024147 | Collection System | Found evidence of a private sewer spill at manhole 18-062-p107 due to an unknown blockage | Ocmulgee | South Fork Peachtree Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-26 | DeKalb | Tucker | 2101 Tucker Industrial Road, Tucker, 30084 | 10 |  | GA0024147 | Collection System | Found 4in private clean out surcharging with evidence of an overflow due to an unknown blockage | Ocmulgee | Did Not Enter State Waters
Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | 2025-02-26 | Clayton | Jonesboro | 1110 Battlecreek Rd. | 14520 | Raw Sewage | GA0038423 | Collection System | Roots/Grease/Non-flushables caused blockage | Flint | Jester Creek
Columbus Water Works (South WRF) | 2025-02-26 | Muscogee | Columbus | 798 Omega Dr. | 459 | Raw Sewage | GA0020516 | Collection System | Debris caused overflow | Chattahoochee | Tiger Creek
Cobb County Water System (R.L. Sutton WRF) | 2025-02-26 | Cobb | Kennesaw | 691 Ernest W. Barrett Pkwy NW | 130 | Raw Sewage | GA0026140 | Collection System | Gravel | Chattahoochee | Noonday Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-26 | DeKalb | Decatur | 1745 Angelique Dr Decatur 30033 | 10 | Raw Sewage | GA0024147 | Collection System | Found evidence of an overflow coming from ground surface due to an unknown blockage | Ocmulgee | Did Not Enter State Waters
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-25 | DeKalb | Decatur | 2870 Raleigh Ct Decatur 30034 | 50 | Raw Sewage | GA0024147 | Collection System | Found evidence of an overflow at the private septic tank caused by an unknown blockage | Ocmulgee | Did Not Enter State Waters
Fulton County Department of Public Works (Big Creek WRF) | 2025-02-25 | Fulton | South Fulton | 8027 Spence Road South Fulton, GA 30218 | 244800 | Raw Sewage | GA0024333 | Collection System | Power/Mechanical Failure at Pump Station | Chattahoochee | Whitewater Creek
Griffin, City of (Shoal Creek - Blanton Mill WPCP) | 2025-02-25 | Spalding | griffin | 415 South Pine Hill Rd | 2250 | raw sewage | GAJ020036 |  | grease and rags | Flint | tributary to Shoal Creek
Perry, City of (Frank Satterfield Road WWTF) | 2025-02-24 | Houston | Perry | Perimeter Rd - SSO from manhole | 70 | Raw Sewage | GA0021334 | Collection System | Rags | Ocmulgee | Fannie Gresham Creek
Cobb County Water System (R.L. Sutton WRF) | 2025-02-24 | Cobb | Kennesaw | 1750 Shiloh Road | 1290 | Raw Sewage | GA0026140 | Collection System | Grease | Chattahoochee | Proctor Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-02-24 | Fulton | Atlanta | 1315 S Ponce De Leon Ave NE | 100 | raw sewage | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Did Not Enter State Waters
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-24 | DeKalb | Decatur | 3778 Guilford Ct Decatur 30034 | 1200 | Raw Sewage | GA0024147 | Collection System | Found manhole 15-037-s038 spilled into South River due to debris (rags) blockage | Ocmulgee | South River
Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | 2025-02-24 | Clayton | Riverdale | 5503 Riverdale Rd. | 10000 | Raw Sewage | GA0038423 | Collection System | Grease caused overflow | Flint | Camp Creek
Locust Grove, City of (Indian Creek WPCP) | 2025-02-24 | Henry | Locust Grove | 4225 Strong Rock Pkwy | 5208 |  | GA0038849 | Collection System | Electrical Failure | Ocmulgee | Did not reach State waters.
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2025-02-23 | Gwinnett | Lawrenceville | 2945 Cruse Rd- Lawrenceville | 9801 | raw sewage | GA0038130 | Collection System | debris- wipes, paper, and other products | Chattahoochee | unnamed tributary of Sweetwater Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-23 | DeKalb | Atlanta | 1452 Wilford Dr Atlanta 30319 | 128 | Raw Sewage | GA0024147 | Collection System | Found 4in cleanout spilling into the storm drain due to an unknown blockage in 8in sewer main | Ocmulgee | North Fork Peachtree Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-22 | DeKalb | Lithonia | 6428 Castle Downs Trace Lithonia 30058 | 60 | Raw Sewage | GA0024147 | Collection System | Found evidence of a sewer spill that came from 4in R.O.W. cleanout due to roots blockage | Ocmulgee | Swift Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-22 | DeKalb | Stone Mountain | 1600 Autumn Hurst Ct Stone Mountain 30088 | 205 | Raw Sewage | GA0024147 | Collection System | Found manhole 16-004-s030 spilling into Barbashela Creek due to a grease blockage | Ocmulgee | Barbashela Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-21 | DeKalb | Chamblee | 3453 Pierce Dr Chamblee Ga 30341 | 520 | Raw Sewage | GA0024147 | Collection System | Found sewer spilling from broken lateral due to debris (rags) blockage in 8in sewer main | Chattahoochee | Nancy Creek
Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | 2025-02-21 | Clayton | Atlanta | 251 Charles W Grant Pkwy | 9675 | Raw Sewage | GA0038423 | Collection System | Grease/roots caused blockage. | Flint | Mud Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-21 | DeKalb | Clarkston | 629 Ridgecreek Dr Clarkston 30021 | 240300 | Raw Sewage | GA0024147 | Collection System | Found manhole #18-045-s008 spilling into Indian Creek due to an unknown blockage | Ocmulgee | Indian Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-21 | DeKalb | Lithonia | 2582 Kelly St Lithonia 30058 | 0 | Raw Sewage | GA0024147 | Collection System | Found private manhole spilling into pine mountain creek due to a grease blockage | Ocmulgee | Pine Mountain Creek
Columbus Water Works (South WRF) | 2025-02-21 | Muscogee | Columbus | 8125 Marne Rd. | 356 | Raw Sewage | GA0020516 | Collection System | A blockage in the main was the cause of a spill into the Armory Creek in the Lower Upatoi Creek Basin. | Chattahoochee | Armory Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-19 | DeKalb | Stone Mountain | 5100 E Ponce De Leon Stone Mountain Ga 30083 | 1080 | Raw Sewage | GA0024147 | Collection System | Found manhole #18-140-s01 with evidence of a sewer spill due to a grease blockage | Ocmulgee | South Fork Peachtree Creek
Broxton, City of (Broxton WPCP) | 2025-02-19 | Coffee | Broxton | Meadow (Lisa) Lane Lift Station | 50000 |  | GAJ020124 | Pump Station | Debris was clogging the pumps causing the pumps to short circuit. | Satilla | Unnamed Tributary to Little Red Bluff Creek
Cobb County Water System (R.L. Sutton WRF) | 2025-02-19 | Cobb | Marietta | 1400 Marietta Country Club Dr., 120 gallons; Noonday Creek | 120 | Raw Sewage | GA0026140 | Collection System | Gravel | Chattahoochee | Noonday Creek
Augusta, City of (J.B. Messerly WPCP) | 2025-02-18 | Richmond | Augusta | 2260 Wrightsboro Rd | 555 | raw sewage | GA0037621 | Collection System | grease and rags of debris | Savannah | Oates Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-18 | DeKalb | Lithonia | 7153 Woodstone Dr Lithonia 30058 | 50 | Raw Sewage | GA0024147 | Collection System | Found 4in private clean out surcharging with evidence of an overflow due to an unknown blockage | Ocmulgee | Pole Bridge Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-02-18 | Fulton | Atlanta | 3057 Delmar Ln NW | 2150 |  | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Sandy Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-02-18 | Fulton | Atlanta | 890 Curran St NW | 176 | raw sewage | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Peachtree Creek
Smyrna (City of)- Sewers | 2025-02-18 | Cobb | Smyrna | 3464 Vinings North Trail | 5000 | Raw Sewage | GAU060035 | Collection System | Blockage in manhole | Chattahoochee | Nickajack Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-17 | DeKalb | Decatur | 2557 Columbia Dr Decatur 30034 | 100 | Raw Sewage | GA0024147 | Collection System | County contractor bypass pump spilled into storm drain due to a damaged sewer hose | Ocmulgee | Cobb Fowler Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-02-17 | DeKalb | Decatur | 4236 Liffey Lane Decatur 30034 | 100 | Raw Sewage | GA0024147 | Collection System | Found 4in private clean out overflowing due to an unknown blockage | Ocmulgee | Did Not Enter State Waters
Cobb County Water System (R.L. Sutton WRF) | 2025-02-17 | Cobb | Marietta | 2932 Canton Rd NE, Marietta, GA 30066 | 110 | Raw Sewage | GA0026140 | Collection System | Grease | Chattahoochee | Noonday Creek