## Sheet1
Posting Date | 2026-06-11
FACILITY_NAME | BEGIN_DATE | COUNTY | CITY | OVERFLOW_LOCATION | QUANTITY_GALLONS | OVERFLOW_TYPE | PERMIT_NUMBER | SPILL_SOURCE | CAUSE | RIVER_BASIN | WATERWAY_IMPACTED | OVERFLOW_DESTINATION
Columbus Water Works (South Columbus WRF) | 2026-06-09 | Muscogee | Columbus | 1321 Chalbena Avenue Columbus, Georgia 31907 | 774 | Low Volume Waste | GA0020516 | Force Main | Aging Infrastructure, | Chattahoochee | Mill Branch | Spill Waters of the State
Columbus Water Works (South Columbus WRF) | 2026-06-09 | Chattahoochee | Ft. Benning | 339 Port Street Ft. Benning, Georgia 31905 | 103 | Low Volume Waste | GA0020516 | Force Main | Blockage Rags wipes, | Chattahoochee | Armory Creek | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2026-06-08 | Fulton | Atlanta | 2500 Center Street Northwest Atlanta, Georgia 30318 |  |  | GA0039012 |  |  |  |  | Spill Waters of the State
Columbus Water Works (South Columbus WRF) | 2026-06-08 | Muscogee | Columbus | 4730 Teresa Street Columbus, Georgia 31907 | 375 | Raw Sewage | GA0020516 | Collection System | Blockage Rags wipes, | Chattahoochee | Mill Branch Tributary | Spill Waters of the State
Macon Water Authority (Rocky Creek WRF) | 2026-06-08 | Bibb | Macon | 6300 Moseley Dixon Road Macon, Georgia 31200 |  | Raw Sewage | GA0024546 | Collection System |  | Ocmulgee | Lake Tobesofke | Spill Waters of the State
Gwinnett County Board of Commissioners (F. Wayne Hill WRF) | 2026-06-07 | Gwinnett | Norcross | 4589 Rosemear Court Norcross, Georgia 30093 | 2814 | Raw Sewage | GA0038130 | Collection System | Blockage Rags wipes,Blockage Other Debris, | Ocmulgee | Unnamed Tributary of Beaver Ruin Creek | Spill Waters of the State
Macon Water Authority (Lower Poplar WRF) | 2026-06-07 | Bibb | Macon | 4620 South Stratford Oaks Drive Macon, Georgia 31210 |  | Raw Sewage | GA0024538 | Collection System | Blockage Fats Oil Grease,Blockage Rags wipes, |  | Savage Creek | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2026-06-06 | DeKalb | Atlanta | 1330 Fernwood Circle Northeast Atlanta, Georgia 30319 | 3060 | Raw Sewage | GA0024147 | Collection System | Blockage Fats Oil Grease, | Chattahoochee | North Fork Peachtree Creek | Spill Waters of the State
Fulton County Department of Public Works (Big Creek WRF) | 2026-06-05 | Fulton | Atlanta | 175 Landsdowne Drive Northwest Atlanta, Georgia 30328 | 3120 | Raw Sewage | GA0024333 | Collection System |  | Chattahoochee | Marsh Creek
Augusta, City of (J.B. Messerly WPCP) | 2026-06-05 | Richmond | Augusta | 3946 Goshen Industrial Boulevard Augusta, Georgia 30906 | 2100 | Raw Sewage | GA0037621 | Collection System | Blockage Other Debris, | Savannah | Phinizy Swamp | Spill Waters of the State
Cherokee County Water & Sewerage Authority (Fitzgerald Creek WPCP) | 2026-06-05 | Cherokee | Acworth | 5215 Ferry Creek Lane Acworth, Georgia 30102 | 27280 | Raw Sewage | GA0038555 | Collection System | Blockage Other Debris, | Coosa | Unnamed Tributary to Tate Creek | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2026-06-04 | DeKalb | Tucker | 4387 Drayton Woods Court Tucker, Georgia 000030084 | 6900 | Raw Sewage | GA0024147 | Collection System | Blockage Other Debris, | Chattahoochee | South Fork Peachtree Creek | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2026-06-03 | DeKalb | Chamblee | 1700 Remington Road Chamblee, Georgia 30341 | 4140 | Raw Sewage | GA0024147 | Collection System | Blockage Other Debris, | Chattahoochee | Nancy Creek | Spill Waters of the State
ATHENS-CLARKE COUNTY (NORTH OCONEE WPCP) | 2026-06-01 | Clarke | Winterville | 330 Weatherly Woods Drive Winterville, Georgia 30683 | 3677 | Raw Sewage | GA0021725 | Collection System | Blockage Rags wipes, | Oconee | Shoals Creek | Spill Waters of the State
Eastman, City of (Sugar Creek WPCP) | 2026-05-31 | Dodge | Eastman | 599 Legion Drive Eastman, Georgia 31023 |  |  | GA0046485 |  | Hurricane or Large Stormwater Event, |  |  | Spill Waters of the State
Augusta, City of (J.B. Messerly WPCP) | 2026-05-30 | Richmond | Augusta | 811 Johns Road Augusta, Georgia 30904 | 50 | Raw Sewage | GA0037621 | Collection System | Blockage Fats Oil Grease,Blockage Rags wipes, | Unknown | Basin | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2026-05-28 | Fulton | Atlanta | 1071 Howell Mill Road Atlanta, Georgia 30318 | 645 | Raw Sewage | GA0039012 | Collection System | Blockage Fats Oil Grease,Blockage Rags wipes, | Chattahoochee | Peachtree creek | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2026-05-28 | Cobb | Smyrna | 1965 Westwood Circle Southeast Smyrna, Georgia 30080 | 160 | Raw Sewage | GA0026140 | Collection System | Blockage Tree Roots, | Chattahoochee | Tributary to Laurel Creek | Spill Waters of the State
Clayton County Water Authority (Shoal Creek WRF) | 2026-05-28 | Clayton | Stockbridge | 3580 Cameron Parkway Stockbridge, Georgia 30281 | 29880 | Raw Sewage | GA0038369 | Collection System | Blockage Fats Oil Grease, | Ocmulgee | Panther Ct. | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2026-05-28 | Cobb | Kennesaw | 3601 Frey Lake Road Kennesaw, Georgia 30144 | 270 | Raw Sewage | GA0026140 | Collection System | Broken Pipe due to unforeseen circumstances, | Coosa | Tributary to Noonday Creek Tributary No. 7 | Spill Waters of the State
Fulton County Department of Public Works (Big Creek WRF) | 2026-05-27 | Fulton | Fairburn | 2955 Old Jonesboro Road Fairburn, Georgia 30213 |  |  | GA0024333
Fulton County Department of Public Works (Camp Creek WPCP) | 2026-05-27 | Fulton | Atlanta | 1735 Loch Lomond Trail Southwest Atlanta, Georgia 30331 | 1425 | Raw Sewage | GA0025381 | Collection System |  | Chattahoochee | Utoy Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2026-05-27 | Fulton | Atlanta | 2500 Center Street Northwest Atlanta, Georgia 30318 | 2415 | Raw Sewage | GA0039012 | Collection System | Blockage Rags wipes, | Chattahoochee | Proctor Creek | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2026-05-26 | Cobb | Smyrna | 1907 Sadler Drive Smyrna, Georgia 30080 | 3000 | Raw Sewage | GA0026140 | Collection System | Broken Pipe due to unforeseen circumstances, | Chattahoochee | Tributary to Laurel Creek | Spill Waters of the State
Augusta, City of (J.B. Messerly WPCP) | 2026-05-26 | Richmond | Hephzibah | 2914 Crosscreek Road Hephzibah, Georgia 30815 | 5100 | Raw Sewage | GA0037621 | Collection System | Blockage Fats Oil Grease, | Savannah | Butler Creek | Spill Waters of the State
ATHENS-CLARKE COUNTY (NORTH OCONEE WPCP) | 2026-05-25 | Clarke | Athens | 250 Ansley Drive Athens, Georgia 30605 | 1239 | Raw Sewage | GA0021725 | Collection System | Caused by Construction or Maintenance Activity, | Oconee | Tributary to North Oconee Riverr | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2026-05-25 | DeKalb | Chamblee | 4700 North Hill Parkway Chamblee, Georgia 30341 | 9600 | Raw Sewage | GA0024147 | Collection System | Third Party Contractor, | Chattahoochee | Nancy Creek | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2026-05-24 | Cobb | Marietta | 1571 East Bank Drive Marietta, Georgia 30068 | 1950 | Raw Sewage | GA0026140 | Collection System | Blockage Tree Roots, | Chattahoochee | Tributary to Timber Ridge Branch | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2026-05-24 | Fulton | Atlanta | 925 Conley Road Southeast Atlanta, Georgia 30354 | 840 | Raw Sewage | GA0039012 | Collection System | Blockage Rags wipes, | Chattahoochee | South River | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2026-05-22 | Fulton | Atlanta | 121 West Paces Ferry Road Northwest Atlanta, Georgia 30305 | 1700 | Raw Sewage | GA0039012 | Collection System | Broken Pipe due to unforeseen circumstances, | Chattahoochee | Peachtree Creek | Spill Waters of the State
Fayetteville, City of (Whitewater Creek WPCP) | 2026-05-20 | Fayette | Fayetteville | 205 LaFayette Avenue Fayetteville, Georgia 30214 | 800 | Raw Sewage | GA0035807 | Collection System | Blockage Fats Oil Grease,Blockage Rags wipes, | Flint | Pye Lake Tributary | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2026-05-20 | Fulton | Atlanta | 2111 Briar Glen Lane Southwest Atlanta, Georgia 30331 | 8800 | Raw Sewage | GA0039012 | Collection System | Blockage Fats Oil Grease,Blockage Rags wipes, | Chattahoochee | Utoy Creek | Spill Waters of the State
Toccoa, City of (Eastanollee Creek WPCP) | 2026-05-19 | Stephens | Toccoa | 498 Davis Avenue Toccoa, Georgia 30577 | 3000 | Raw Sewage | GA0021814 | Force Main | Blockage Fats Oil Grease,Blockage Rags wipes,Blockage Other Debris, | Savannah | Eastanollee | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2026-05-18 | Cobb | Smyrna | 1965 Westwood Circle Southeast Smyrna, Georgia 30080 | 4900 | Raw Sewage | GA0026140 | Collection System | Broken Pipe due to unforeseen circumstances, | Chattahoochee | Tributary to Laurel Creek | Spill Waters of the State
Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | 2026-05-18 | Clayton | Jonesboro | 360 Brittan Trail Jonesboro, Georgia 30236 | 5640 | Raw Sewage | GA0038423 | Collection System | Blockage Fats Oil Grease,Blockage Rags wipes, | Flint | Flint River | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2026-05-18 | DeKalb | Tucker | 3751 Lakeside Court Tucker, Georgia 30084 | 5000 | Raw Sewage | GA0024147 | Collection System | Broken Pipe due to unforeseen circumstances, | Chattahoochee | Jackson Creek | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2026-05-18 | DeKalb | Decatur | 711 Oakview Road Decatur, Georgia 30030 | 235 | Raw Sewage | GA0024147 | Collection System | Blockage Fats Oil Grease, | Ocmulgee | Shoal Creek | Spill Waters of the State
Columbus Water Works (South Columbus WRF) | 2026-05-18 | Muscogee | Columbus | 411 42nd Street Columbus, Georgia 31906 | 112 | Low Volume Waste | GA0020516 | Force Main | Blockage Other Debris, | Chattahoochee | Chattahoochee River Tributary | Spill Waters of the State
Columbus Water Works (South Columbus WRF) | 2026-05-18 | Muscogee | Columbus | 5107 Abbott Avenue Columbus, Georgia 31902 | 28341 | Low Volume Waste | GA0020516 | Force Main | Blockage Other Debris,Aging Infrastructure, | Chattahoochee | Chattahoochee River Tributary | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2026-05-17 | Cobb | Austell | 914 Peel Castle Lane Austell, Georgia 30106 | 2180 | Raw Sewage | GA0026140 | Collection System | Blockage Fats Oil Grease, | Chattahoochee | Concord Creek | Spill Waters of the State
Augusta, City of (J.B. Messerly WPCP) | 2026-05-16 | Richmond | Augusta | 3419 Ravenwood Drive Augusta, Georgia 30907 | 600 | Raw Sewage | GA0037621 | Collection System | Blockage Fats Oil Grease, | Savannah | Raes Creek | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2026-05-16 | Cobb | Roswell | 4089 Southerland Drive Northeast Roswell, Georgia 30075 | 390 | Raw Sewage | GA0026140 | Collection System | Broken Pipe due to unforeseen circumstances, | Chattahoochee | Tributary to Sweat Mountain Creek | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2026-05-15 | DeKalb | Atlanta | 1551 West Nancy Creek Drive Northeast Atlanta, Georgia 30319 | 200 | Raw Sewage | GA0024147 | Collection System | Blockage Other Debris, | Chattahoochee | Nancy Creek | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2026-05-14 | DeKalb | Atlanta | 1347 Sylvan Circle Northeast Atlanta, Georgia 30319 | 100 | Raw Sewage | GA0024147 | Collection System | Blockage Other Debris, | Chattahoochee | North Fork Peachtree Creek | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2026-05-14 | DeKalb | Atlanta | 1815 South Ponce De Leon Avenue Northeast Atlanta, Georgia 30307 | 985 | Raw Sewage | GA0024147 | Collection System | Broken Pipe due to unforeseen circumstances, | Chattahoochee | South Fork Peavine Creek | Spill Waters of the State
Columbus Water Works (South Columbus WRF) | 2026-05-14 | Muscogee | Columbus | 514 Morris Road Columbus, Georgia 31906 | 1633 | Raw Sewage | GA0020516 | Collection System | Blockage Other Debris, | Chattahoochee | Lindsey Creek | Spill Waters of the State
Douglasville-Douglas County Water & Sewerage Authority (South Central WPCP) | 2026-05-14 | Douglas | Douglasville | 9465 Lakeview Ct Douglasville, Georgia 30135 | 4475 | Raw Sewage | GA0038709 | Collection System | Blockage Fats Oil Grease,Blockage Tree Roots, | Chattahoochee | Anneewakee Creek | Spill Waters of the State
TIFTON, CITY OF (NEW RIVER WPCP) | 2026-05-13 | Tift | Tifton | 2406 North Ridge Avenue Tifton, Georgia 31793 | 600 |  | GA0048470 | Collection System | Pump Station Mechanical Failure, |  | New River Basin | Spill Waters of the State
Saint Marys, City of (Point Peter WPCP) | 2026-05-13 | Camden | St. Marys | 303 Hunt Club Road St. Marys, Georgia 31558 |  | Raw Sewage | GA0039047 | Collection System | High Levels of Inflow,Electrical Failure, | Saint Mary's | Dark Entry Creek | Spill Waters of the State
Paulding County Water System (Pumpkinvine Creek WRF) | 2026-05-13 | Paulding | Acworth | 32 English Ivy Way Acworth, Georgia 30101 | 11775 |  | GA0039021 | Collection System | Pump Station Mechanical Failure, |  | Pumpkinvine Creek | Spill Waters of the State
Gwinnett County Board of Commissioners (F. Wayne Hill WRF) | 2026-05-13 | Gwinnett | Lawrenceville | 633 Russell Road Lawrenceville, Georgia 30043 | 954 | Raw Sewage | GA0038130 | Collection System | Blockage Rags wipes, | Ocmulgee | Yellow River | Spill Waters of the State
ATHENS-CLARKE COUNTY (NORTH OCONEE WPCP) | 2026-05-13 | Clarke | Athens | 95 Willow Street Athens, Georgia 30601 | 881 | Raw Sewage | GA0021725 | Collection System | Blockage Other Debris, | Oconee | North Oconee River | Spill Waters of the State
Gwinnett County Board of Commissioners (F. Wayne Hill WRF) | 2026-05-12 | Gwinnett | Suwanee | 1674 Chelsea Falls Lane Suwanee, Georgia 30024 | 5606 | Raw Sewage | GA0038130 | Collection System | Blockage Other Debris, | Chattahoochee | Unnamed Tributary of Bennett Creek | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2026-05-12 | Cobb | Marietta | 2665 Favor Road Southwest Marietta, Georgia 30060 | 29375 | Raw Sewage | GA0026140 | Collection System | Blockage Other Debris, | Chattahoochee | Favor Creek | Spill Waters of the State
Rockdale County Water Resources (Quigg Branch WPCP) | 2026-05-12 | Rockdale | Conyers | 1122 Keswick Village Court Northeast Conyers, Georgia 30013 | 1700 | Raw Sewage | GA0047678 | Other | Blockage Rags wipes, | Ocmulgee | TRIBUTARY TO YELLOW RIVER | Spill Waters of the State
Gwinnett County Board of Commissioners (F. Wayne Hill WRF) | 2026-05-11 | Gwinnett | Lawrenceville | 621 Old Peachtree Road Northeast Lawrenceville, Georgia 30043 | 1192 | Raw Sewage | GA0038130 | Collection System | Blockage Other Debris, | Ocmulgee | Unnamed Tributary of Little Suwanee Creek | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2026-05-11 | DeKalb | Atlanta | 851 Brownwood Avenue Southeast Atlanta, Georgia 30316 | 960 | Raw Sewage | GA0039012 | Collection System | Aging Infrastructure, | Chattahoochee | INTREACHMENT CREEK | Spill Waters of the State