## Sheet1
Posting Date | 2024-05-09
FACILITY_NAME | BEGIN_DATE | COUNTY | CITY | OVERFLOW_LOCATION | QUANTITY_GALLONS | OVERFLOW_TYPE | PERMIT_NUMBER | SPILL_SOURCE | SPILL_PRIMARY_CAUSE | RIVER_BASIN | WATERWAY_IMPACTED
LaGrange, City of (Long Cane Creek WPCP) | 2024-05-07 | Troup | LaGrange | Newnan St. East of Sanford Ave. | 2882 | Raw Sewage | GA0036951 | Collection System | Pipe failure | Chattahoochee | Pepperell Creek
Columbus Water Works (South WRF) | 2024-05-06 | Muscogee | Columbus | 6519 Foxboro Dr. | 1129 | Raw Sewage | GA0020516 | Collection System | Pipe failure | Chattahoochee | Tributary of Bull Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-05-05 | DeKalb | Lithonia | 4557 Meadow Creek Path, Lithonia | 8250 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Snapfinger Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-05-05 | DeKalb | Stone Mountain | 1440 Sowell Estates, Stone Mountain | 8250 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | South fork Peachtree Creek Tributary
Cumming, City of (Bethelview Road WPCP) | 2024-05-05 | Forsyth | Cumming | near 2290 Briarwood Trl Buford Dam #1 wastewater pump | 5500 | Raw Sewage | GA0046019 | Pump Station | Equipment failure | Chattahoochee | unnamed tributary to Lake Lanier
Fulton County Department of Public Works (Big Creek WRF) | 2024-05-03 | Fulton | South Fulton | 110 Feldwood Pines Street | 1500 | Raw Sewage | GA0024333 | Collection System | Debris | Chattahoochee | Morning Creek
Cobb County Water System (R.L. Sutton WRF) | 2024-05-02 | Cobb | Mableton | 7039 Mableton Pkwy | 780 | Raw Sewage | GA0026140 | Collection System | Grease | Chattahoochee | Chattahoochee River
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-05-02 | DeKalb | Atlanta | 2097 Vineyard Walk, Apt 1, Atlanta | 3600 | Raw Sewage | GA0024147 | Collection System | Rags | Chattahoochee | Sugar Creek
Cobb County Water System (R.L. Sutton WRF) | 2024-05-01 | Cobb | Acworth | 3412 Arbor View Pkwy, Acworth, GA 30101 | 5750 | Raw Sewage | GA0026140 | Collection System | Other | Chattahoochee | Clark Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-05-01 | DeKalb | Decatur | 2190 Wallingford Drive, Decatur | 471675 | Raw Sewage | GA0024147 | Collection System | Broken Pipe due to unforeseen circumstances | Ocmulgee | Doolittle Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-05-01 | DeKalb | Dunwoody | 6682 Peachtree Industrial Blvd, Atlanta | 20 | Raw Sewage | GA0024147 | Collection System | Debris | Chattahoochee | Nancy Creek Tributary
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-05-01 | Fulton | Atlanta | 2108 Bolton Dr NW | 105 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Peachtree Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-05-01 | Fulton | Atlanta | 2169 Sargent Pl SE | 2740 | Raw Sewage | GA0039012 | Collection System | Debris | Upper Ocmulgee | South River
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-30 | DeKalb | Atlanta | 2551 New Haven Drive, Atlanta | 150 | Raw Sewage | GA0024147 | Collection System | Grease | Chattahoochee | North Fork Peachtree Creek Tributary B
Private Property | 2024-04-30 | DeKalb | Atlanta | 2516 Bouldercrest Road, Atlanta | 2000 | Raw Sewage |  | Collection System | Unknown | Chattahoochee | Sugar Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-29 | DeKalb | Decatur | 2566 Whites Mill Road, Decatur | 16700 | Raw Sewage | GA0024147 | Private Lateral | Pipe failure | Ocmulgee | Doolittle Creek Tributary
Cobb County Water System (R.L. Sutton WRF) | 2024-04-29 | Cobb | Marietta | 2645 Shaw Rd Marietta, GA 30066 | 320 | Raw Sewage | GA0026140 | Collection System | Roots | Chattahoochee | Morgan Lake
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-29 | DeKalb | Tucker | 2101 Tucker Industrial Road, Tucker | 100 | Raw Sewage | GA0024147 | Collection System | Equipment failure | Chattahoochee | South fork Peachtree Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-29 | DeKalb | Lithonia | 8101 Pleasant Hill Road, Lithonia | 280 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Ocmulgee | Yellow River Tributary
Cobb County Water System (R.L. Sutton WRF) | 2024-04-26 | Cobb | Roswell | 3413 Belleford Ct NE, Roswell, GA 30075 | 250 | Raw Sewage | GA0026140 | Collection System | Grease | Chattahoochee | Sweat Mountain Creek
Cobb County Water System (R.L. Sutton WRF) | 2024-04-25 | Cobb | Marietta | 1637 Rex Dr | 80 | Raw Sewage | GA0026140 | Collection System | Roots | Chattahoochee | Morgan Lake
Cherokee County Water & Sewerage Authority (Fitzgerald Creek WPCP) | 2024-04-25 | Cherokee | Canton | Behind Buice Lake (off of Buice Lake Parkway) – between Stanley Martin Homes and Hidden Falls. | 22800 | Raw Sewage | GA0038555 | WWTP | Debris | Coosa | Owl Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-04-25 | Fulton | Atlanta | 1829 Campbellton Rd SW | 264 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Utoy Creek
Athens-Clarke County (North Oconee WRF) | 2024-04-24 | Clarke | Athens | 1190 Mitchell Bridge Road | 1738 | Raw Sewage | GA0021725 | Collection System | Grease | Oconee | Middle Oconee River Tributary
Fulton County Department of Public Works (Big Creek WRF) | 2024-04-23 | Fulton | Johns Creek | 8735 Nesbit Ferry Road Johns Creek, GA 30022 | 2160 | Raw Sewage | GA0024333 | Collection System | Pipe failure | Chattahoochee | Chattahoochee River
Cobb County Water System (R.L. Sutton WRF) | 2024-04-21 | Cobb | Kennesaw | 1794 Cloverhurst Kennesaw | 1020 | Raw Sewage | GA0026140 | Collection System | Roots | Chattahoochee | Due West Creek and Cloverhurst Retention Pond
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-20 | DeKalb | Lithonia | 6659 Chupp Road, Lithonia | 1300 | Raw Sewage | GA0024147 | Collection System | Rags | Ocmulgee | Polebridge Creek Tributary
Fulton County Department of Public Works (Big Creek WRF) | 2024-04-19 | Fulton | Alpharetta | 2575 Milford Lane Alpharetta, GA 30009 | 6400 | Raw Sewage | GA0024333 | Collection System | Grease | Chattahoochee | Goswick Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-19 | DeKalb | Chamblee | 3300 Northeast Expressway, Ste 2A, Chamblee | 910 | Raw Sewage | GA0024147 | Collection System | Unknown | Chattahoochee | North Fork Peachtree Creek Tributary
Augusta, City of (J.B. Messerly WPCP) | 2024-04-19 | Richmond | Augusta | 2812 Joy Rd | 1500 | Raw Sewage | GA0037621 | Collection System | Grease | Savannah | Raes Creek
Douglasville-Douglas County Water & Sewerage Authority (South Central WPCP) | 2024-04-19 | Douglas | Lithia Springs | 1265 Blairs Bridge Rd. | 500000 | Raw Sewage | GA0038709 | Collection System | Equipment failure | Chattahoochee | Sweetwater Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-04-19 | Fulton | Atlanta | 1526 Childress Dr SW | 29050 | Raw Sewage | GA0039012 | Collection System | Pipe failure | Chattahoochee | Utoy Creek
Macon Water Authority (Rocky Creek WRF) | 2024-04-18 | Bibb | Macon | 2424 Alandale Dr. | 3900 | Raw Sewage | GA0024546 | Collection System | Roots | Ocmulgee | Ditch feeding Walnut Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-18 | DeKalb | Dunwoody | 4720 Cambridge Trace, Dunwoody | 7070 | Raw Sewage | GA0024147 | Collection System | Grease | Chattahoochee | Nancy Creek Tributary A
Cobb County Water System (R.L. Sutton WRF) | 2024-04-17 | Cobb | Powder Springs | 3385 Hopkins Rd., Powder Springs | 730 | Raw Sewage | GA0026140 | Collection System | Other | Chattahoochee | Wildhorse Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-16 | DeKalb | Conley | 4280 Thurman Drive, Conley | 4640 | Raw Sewage | GA0024147 | Collection System | Grease | Ocmulgee | Conley Creek Tributary
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-04-16 | Fulton | Atlanta | 1955 Compton Dr SE | 2920 | Raw Sewage | GA0039012 | Collection System | Pipe failure | Upper Ocmulgee | South River
Cobb County Water System (R.L. Sutton WRF) | 2024-04-15 | Cobb | Kennesaw | 4355 Due West Rd NW, | 5930 | Raw Sewage | GA0026140 | Collection System | Other | Chattahoochee | Allatoona Creek
Doerun, City of (Doerun WPCP) | 2024-04-15 | Colquitt | Doerun | Hwy 270 Lift Station (East Broad Ave). | 9000 | Raw Sewage | GA0021717 | Collection System | Equipment failure | Ochlockonee | Mill Creek to the Ochlocknee River
City of Fairburn | 2024-04-15 | Fulton | Fairburn | 524 Willow Creek Rd, Fairburn GA 30213 | 70125 | Raw Sewage | GAU060251 | Collection System | Unknown | Chattahoochee | wetland
Private Property | 2024-04-14 | DeKalb | Clarkston | 1000 Montreal Road E, Clarkston | 4250 | Raw Sewage |  | Private Lateral | Grease | Chattahoochee | South fork Peachtree Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-13 | DeKalb | Lithonia | 1771 stone meadow road, lithonia | 900 | Raw Sewage | GA0024147 | Collection System | Rags | Ocmulgee | Johnson Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-13 | DeKalb | Dunwoody | 1878 Trumbull Drive, Dunwoody | 2300 | Raw Sewage | GA0024147 | Collection System | Grease | Chattahoochee | Nancy Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-13 | DeKalb | Dunwoody | 4833 adams road, Dunwoody | 3630 | Raw Sewage | GA0024147 | Collection System | Unknown | Chattahoochee | Nancy Creek Tributary A
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-13 | DeKalb | Decatur | 4522 Snapfinger Woods Drive, Decatur | 1850 | Raw Sewage | GA0024147 | Collection System | Rags | Ocmulgee | Snapfinger Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-13 | DeKalb | Tucker | 4117 Hideaway drive, Tucker | 3220 | Raw Sewage | GA0024147 | Collection System | Equipment failure | Chattahoochee | South fork Peachtree Creek
Cobb County Water System (R.L. Sutton WRF) | 2024-04-12 | Cobb | Acworth | 4334 Park St. Acworth | 7150 | Raw Sewage | GA0026140 | Collection System | Other | Chattahoochee | Butler Creek
Cordele, City of (Gum Creek WPCP) | 2024-04-12 | Crisp | Cordele | 801 Perimeter Rd. | 1260000 | Raw Sewage | GA0024503 | WWTP | Wet weather | Flint | Gum Creek
Columbus Water Works (South WRF) | 2024-04-12 | Muscogee | Columbus | 3021 Bellanca St. | 986 | Raw Sewage | GA0020516 | Collection System | Debris | Chattahoochee | Lindsay Creek
Fulton County Department of Public Works (Big Creek WRF) | 2024-04-12 | Fulton | Sandy Springs | 25 West Belle Isle Road | 5000 | Raw Sewage | GA0024333 | Collection System | Debris | Chattahoochee | Nancy Creek
Cobb County Water System (R.L. Sutton WRF) | 2024-04-12 | Cobb | Marietta | 433 Lorene Dr. Marietta, GA 30060 | 270 | Raw Sewage | GA0026140 | Collection System | Grease | Chattahoochee | Nickajack Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-04-12 | Fulton | Atlanta | 365 Fairburn Rd NW | 5250 | Raw Sewage | GA0039012 | Collection System | Grease | Chattahoochee | Sandy Creek
Cobb County Water System (R.L. Sutton WRF) | 2024-04-12 | Cobb | Marietta | 1475 Hembree Station Dr. | 80 | Raw Sewage | GA0026140 | Collection System | Roots | Chattahoochee | Sewell Mill Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-12 | DeKalb | Lithonia | 6259 Klondike River Road, Lithonia | 480 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | South River
Thomasville, City of (Oquina Creek WPCP) | 2024-04-12 | Thomas | Thomasville | Intersection of S Pinetree Blvd. and Magnolia Rd. | 95000 | Raw Sewage | GA0024082 | Collection System | Wet weather | Ochlockonee | Tributary of Olive Creek
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2024-04-12 | Gwinnett | Buford | 4185 Woodward Mill Rd- Buford | 6015 | Raw Sewage | GA0038130 | Collection System | Debris | Chattahoochee | unnamed tributary of Suwanee Creek
Valdosta, City of (Withlacoochee WPCP) | 2024-04-12 | Lowndes | Valdosta | 3108 Wetherington Ln- Withlacoochee WPCP | 6700000 | Raw Sewage | GA0033235 | WWTP | Hydraulic Overload | Suwannee | Withlacoochee River
Blackshear, City of (Blackshear WPCP) | 2024-04-11 | Pierce | Blackshear | Manhole located at 451 Grovehill Ave | 20000 | Raw Sewage | GAJ020001 | Collection System | Wet weather | Satilla | Alabaha River
Blackshear, City of (Blackshear WPCP) | 2024-04-11 | Pierce | Blackshear | 916 Edgewood Circle Manhole | 18000 | Raw Sewage | GAJ020001 | Collection System | Wet weather | Satilla | Baxter Branch
Macon Water Authority (Rocky Creek WRF) | 2024-04-11 | Bibb | Macon | 3040 Greenbriar Rd. E | 5300 | Raw Sewage | GA0024546 | Collection System | Hydraulic Overload | Ocmulgee | Ditch feeding Rocky Creek
Dawson, City of (Dawson WPCP) | 2024-04-11 | Terrell | Dawson | Hwy 82 and Don Foster Road | 23040 | Raw Sewage | GA0021326 | Collection System | Wet weather | Ocmulgee | Ditch to Brantley Creek
Homerville, City of (Homerville WPCP) | 2024-04-11 | Clinch | Homerville | the manhole inside the fence at the main lift station at the WWTP, 245 E. Forest Ave. – Main LS Manhole by Dickerson St. | 5000 | Raw Sewage | GA0031828 | Lift Station | Hydraulic Overload | Suwannee | Gallows Branch
Valdosta, City of (Withlacoochee WPCP) | 2024-04-11 | Lowndes | Valdosta | 817 Gornto Rd | 60000 | Raw Sewage | GA0033235 | Collection System | Hydraulic Overload | Suwannee | Joree Mill Pond to Two Mile Branch
Tifton, City of (New River WPCP) | 2024-04-11 | Tift | Tifton | 809 E Golden Rd. | 40400 | Raw Sewage | GA0048470 | Collection System | Wet weather | Suwannee | Little River
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-11 | DeKalb | Atlanta | 1030 Springdale Road, Atlanta | 290 | Raw Sewage | GA0024147 | Collection System | Roots | Chattahoochee | Lullwater Creek Tributary
Columbus Water Works (South WRF) | 2024-04-11 | Muscogee | Columbus | 5901 Gateway Dr. | 102015 | Raw Sewage | GA0020516 | Collection System | Pipe failure | Chattahoochee | Minor tributary of Bull Creek
Tifton, City of (New River WPCP) | 2024-04-11 | Tift | Tifton | 2406 N Ridge Ave. | 7000 | Raw Sewage | GA0048470 | Collection System | Wet weather | Suwannee | New River
Valdosta, City of (Withlacoochee WPCP) | 2024-04-11 | Lowndes | Valdosta | 1402 N Lee St | 67500 | Raw Sewage | GA0033235 | Collection System | Hydraulic Overload | Suwannee | One Mile Branch
Valdosta, City of (Withlacoochee WPCP) | 2024-04-11 | Lowndes | Valdosta | 1402 N Lee St | 40500 | Raw Sewage | GA0033235 | Collection System | Hydraulic Overload | Suwannee | One Mile Branch
Valdosta, City of (Withlacoochee WPCP) | 2024-04-11 | Lowndes | Valdosta | 112 Wainwright Dr | 150000 | Raw Sewage | GA0033235 | Collection System | Hydraulic Overload | Suwannee | One Mile Branch
Valdosta, City of (Withlacoochee WPCP) | 2024-04-11 | Lowndes | Valdosta | 1402 N Lee St | 6750 | Raw Sewage | GA0033235 | Collection System | Hydraulic Overload | Suwannee | One Mile Branch
Cairo, City of (Cairo WPCP) | 2024-04-11 | Grady | Cairo | Cairo WWTP 6th Street, Cairo | 93600 | Raw Sewage | GA0025771 | Collection System | Wet weather | Ochlockonee | Parker's Mill Creek
Patterson, City of (Patterson WPCP) | 2024-04-11 | Pierce | Patterson | 3535 Dallas St. Manhole | 5000 | Raw Sewage | GA0037206 | Collection System | Wet weather | Satilla | Patterson Creek
Garden City (Garden City WPCP) | 2024-04-11 | Chatham | Garden City | Stormwater outfall #3 | 330000 | Raw Sewage | GA0031038 | WWTP | Wet weather | Savannah | Pipemaker's Canal
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-04-11 | Fulton | Atlanta | 365 Fairburn Rd NW | 1980 | Raw Sewage | GA0039012 | Collection System | Grease | Chattahoochee | Sandy Creek
Valdosta, City of (Withlacoochee WPCP) | 2024-04-11 | Lowndes | Valdosta | 1825 Norman Dr | 1200 | Raw Sewage | GA0033235 | Collection System | Hydraulic Overload | Suwannee | Sugar Creek
Valdosta, City of (Withlacoochee WPCP) | 2024-04-11 | Lowndes | Valdosta | 215 Knob Hill Dr | 108000 | Raw Sewage | GA0033235 | Collection System | Hydraulic Overload | Suwannee | Three Mile Branch
Valdosta, City of (Withlacoochee WPCP) | 2024-04-11 | Lowndes | Valdosta | 2509 Seymour St | 900 | Raw Sewage | GA0033235 | Collection System | Hydraulic Overload | Suwannee | Two Mile Branch
Rochelle, City of (Northwest WPCP) | 2024-04-11 | Wilcox | Rochelle | Intersection of Ginhouse Street and Sook Road. | 3000 | Raw Sewage | GA0024244 | Lift Station | Wet weather | Suwannee | Unnamed tributary to Reynolds Creek
Eastman, City of (Sugar Creek WPCP) | 2024-04-11 | Dodge | Eastman | Legion Dr Lift Station | 12000 | Raw Sewage | GA0046485 | Lift Station | Wet weather | Ocmulgee | Unnamed tributary to Sugar Creek
Dawson, City of (Dawson WPCP) | 2024-04-10 | Terrell | Dawson | Pool Road | 5760 | Raw Sewage | GA0021326 | Collection System | Wet weather | Ocmulgee | Brantley Creek
Quitman, City of (Quitman WPCP) | 2024-04-10 | Brooks | Quitman | 500 North Washington Street | 1400 | Raw Sewage | GAJ020022 | Collection System | Wet weather | Suwannee | Drainage Ditch Okapilco Creek
Quitman, City of (Quitman WPCP) | 2024-04-10 | Brooks | Quitman | 1100 Forsyth Street | 4400 | Raw Sewage | GAJ020022 | Collection System | Wet weather | Suwannee | drainage Ditch Okapilco Creek
Quitman, City of (Quitman WPCP) | 2024-04-10 | Brooks | Quitman | 614 N Walker Street | 4000 | Raw Sewage | GAJ020022 | Collection System | Wet weather | Suwannee | Drainage Ditch Okapilco Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-04-10 | DeKalb | Lithonia | 4557 Meadow Creek, Lithonia | 5250 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Snapfinger Creek
Valdosta, City of (Withlacoochee WPCP) | 2024-04-09 | Lowndes | Valdosta | 4051 Huntley Dr | 5000 | Raw Sewage | GA0033235 | Collection System | Grease | Suwannee | Cherry Creek to Withlacoochee River
Marietta (City of)- Sewers | 2024-04-09 | Cobb | Marietta | 754 Smithstone Ct. | 1500 | Raw Sewage | GAU060032 | Collection System | Grease | Chattahoochee | Rottenwood Creek
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2024-04-09 | Gwinnett | Norcross | 5504 Estates Ct- Norcross | 2419 | Raw Sewage | GA0038130 | Collection System | Grease | Upper Ocmulgee | unnamed tributary of Beaver Ruin Creek