## Sheet1
Posting Date | 2025-04-24
FACILITY_NAME | BEGIN_DATE | COUNTY | CITY | OVERFLOW_LOCATION | QUANTITY_GALLONS | OVERFLOW_TYPE | PERMIT_NUMBER | SPILL_SOURCE | CAUSE | RIVER_BASIN | WATERWAY_IMPACTED | OVERFLOW_DESTINATION
Rockdale County Water Resources (Quigg Branch WPCP) | 2025-04-23 | Rockdale | Conyers | 1361 S. Hicks Cir Conyers | 700 | Raw Sewage | GA0047678 | Collection System | Bypass Plug Left in Pipe after rehab | Ocmulgee | Tributary to Travers Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-22 | DeKalb | Atlanta | 2772 Northeast Expressway Atlanta, Georgia 30345 | 20 | Raw Sewage | GA0024147
Marietta (City of)- Sewers | 2025-04-22 | Cobb | Marietta | 1737 Cobb Pkwy SE Marietta | 5775 |  | GAU060032 | Collection System | Break in pipe | Chattahoochee | Poorhouse Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-22 | DeKalb | Lithonia | 6860 Main Street Lithonia, Georgia 30058 | 50 | Raw Sewage | GA0024147 | Private Lateral | Blockage Other DebrisBlockage Other Debris | Not Applicable | N/A
Macon Water Authority (Lower Poplar WRF) | 2025-04-22 | Bibb | Macon | 2063 Hart Smith Street Macon, Georgia 31204 | 3680 | Raw Sewage | GA0024538 | Collection System | Blockage Fats Oil GreaseBlockage Fats Oil Grease | Ocmulgee | None | Dry Land Overflow
Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | 2025-04-22 | Clayton | Forest Park | 4950 Governors Dr. Forest Park | 23400 | Raw Sewage | GA0038423 | Collection System | Pipe failure caused overflow | Flint | Jester Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-21 | DeKalb | Decatur | 3122 Panthersville Road Decatur, Georgia 30034 |  |  | GA0024147
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-21 | DeKalb | Doraville | 4889 Macbain Lane Doraville, Georgia 30360 | 50 | Raw Sewage | GA0024147
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-21 | DeKalb | Atlanta | 1139 Chantilly Rise Northeast Atlanta, Georgia 30324 | 30 | Raw Sewage | GA0024147 | Collection System
Eastman, City of (Sugar Creek WPCP) | 2025-04-21 | Dodge | Eastman | 976 Mount Moriah Street Eastman, Georgia 31023 |  | Raw Sewage | GA0046485 | Collection System | Aging InfrastructureAging Infrastructure | Ocmulgee |  | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2025-04-21 | Cobb | Marietta | 3233 Holly Mill Run Marietta, Georgia 30062 |  | Raw Sewage | GA0026140 |  |  |  |  | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2025-04-21 | Cobb | Acworth | 5182 Catalypa Knoll Acworth, Georgia 30101 |  |  | GA0026140 |  | VandalismVandalism
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-20 | DeKalb | Stonecrest | 3756 Salem Chapel Drive Stonecrest, Georgia 30038 | 20 | Raw Sewage | GA0024147 | Collection System |  |  | Pole Bridge Creek | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-19 | DeKalb | Decatur | 1956 East Starmount Way Decatur, Georgia 30032 | 30 | Raw Sewage | GA0024147 |  |  |  |  | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-19 | DeKalb | Stone Mountain | 440 South Susan Creek Drive Stone Mountain, Georgia 30083 | 250 | Raw Sewage | GA0024147
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-19 | Fulton | Atlanta | 1293 Woodland Ave SE Atlanta | 430 |  | GA0039012 | Collection System | collapsed mainline | Upper Ocmulgee | Intrenchment Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-19 | Fulton | Atlanta | 1353 Woodland Ave SE Atlanta | 370 |  | GA0039012 | Collection System | collapsed mainline | Upper Ocmulgee | Intrenchment Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-18 | Fulton | Atlanta | 2631 Cascade Rd SW Atlanta | 433 |  | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Utoy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-18 | DeKalb | Decatur | 2797 Tilson Road Decatur, Georgia 30032 | 100 | Raw Sewage | GA0024147
Cartersville, City of (Cartersville WPCP) | 2025-04-17 | Bartow | Cartersville | Manhole at the East Side of CSX close to Hwy. 411 and Dent Drive Cartersville | 5000 | Raw Sewage | GA0024091 | WWTP | Bartow County Water Department’s Contractor had a bypass pump failure during construction | Coosa | Tributary to Pettit Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-17 | Fulton | Atlanta | 2631 Cascade Rd SW Atlanta | 200 |  | GA0039012 | Collection System | debris and grease in the mainline | Chattahoochee | Utoy Creek
Cobb County Water System (R.L. Sutton WRF) | 2025-04-17 | Cobb | Kennesaw | 2726 Watts Drive Kennesaw, Georgia 30144 |  |  | GA0026140
ATHENS-CLARKE COUNTY (NORTH OCONEE WPCP) | 2025-04-17 | Clarke | Athens | 580 Roberts Rd Athens 30606 Athens | 409 | Raw Sewage | GA0021725 | Collection System | overflowing manhole caused by grease in sewer line | Oconee | Turkey Creek
Hampton, City of (Bear Creek WPCP) | 2025-04-16 | Henry | Hampton | Lift Station #1 on Elm St. Hampton Ga Hampton | 2000 | Raw Sewage | GA0020320 | Collection System | Pump number 2 lost its seal and would not pump | Flint | Did not reach state waters
Fulton County Department of Public Works (Big Creek WRF) | 2025-04-15 | Fulton | Sandy Springs | 7275 Hunters Branch Drive Northeast Sandy Springs, Georgia 30328 |  |  | GA0024333 |  | Broken Pipe due to unforeseen circumstancesBroken Pipe due to unforeseen circumstances |  |  | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-15 | DeKalb | Chamblee | 5180 Peachtree Industrial Boulevard Chamblee, Georgia 30341 |  | Raw Sewage | GA0024147 | Collection System |  |  | Nancy Creek | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-15 | DeKalb | Atlanta | 2704 Bouldercrest Road Atlanta, Georgia 30316 | 200 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Cobb County Water System (R.L. Sutton WRF) | 2025-04-14 | Cobb | Marietta | 1650 Old Concord Road Marietta, Georgia 30060 |  |  | GA0026140
Warner Robins, City of (Sandy Run Creek WPCP) | 2025-04-14 | Houston | Warner Robins | King Richard Dr. and Carl Vinson Pkwy. Warner Robins, GA 31088 Warner Robins | 197400 | Raw Sewage | GA0030325 | Collection System | recent environmental events and erosion to the embankment of a stormwater drainage system | Ocmulgee | Bay Gall Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-13 | Fulton | Atlanta | 1064 Ira St SW Atlanta | 615 |  | GA0039012 | Collection System | debris in the mainline | Upper Ocmulgee | South River
Cobb County Water System (R.L. Sutton WRF) | 2025-04-13 | Cobb | Atlanta | 837 Pinhurst Drive Atlanta, Georgia 30339 |  |  | GA0026140
Dallas, City of (Pumpkinvine Creek WPCP) | 2025-04-13 | Paulding | Dallas | Near 382 Saddle Brooke Dr. Dallas, GA 30132 Dallas | 3600 | Raw Sewage | GA0039241 | WWTP | Grease and rag build up in main sewer line | Coosa | Lawrence Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-13 | DeKalb | Atlanta | 1108 Oxford Road Northeast Atlanta, Georgia 30306 | 10 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-12 | DeKalb | Doraville | 3568 Wilton Avenue Doraville, Georgia 30340 | 10 | Raw Sewage | GA0024147 | Collection System
City of Fairburn | 2025-04-11 | Fulton | Fairburn | 524 Willoe Creek Fairburn | 19250 | Raw Sewage | GAU060251 | Collection System | Grease Blockage | Chattahoochee | wetland
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-11 | DeKalb | Stone Mountain | 1 Chatfield Drive Stone Mountain, Georgia 30083 |  | Raw Sewage | GA0024147 | Collection System |  |  |  | Spill Waters of the State
Macon Water Authority (Rocky Creek WRF) | 2025-04-11 | Bibb | Macon | 3040 Greenbriar Road East Macon, Georgia 31204 | 10200 | Raw Sewage | GA0024546 | Collection System | High Levels of InflowHigh Levels of Inflow | Ocmulgee | Rocky Creek | Spill Waters of the State
Settendown Public Utility, LLC (Hampton Creek WRF) | 2025-04-10 | Forsyth |  |  | 8000 | Raw Sewage | GA0038903 | WWTP | Clogged gravity line | Coosa | Settendown Creek
Smyrna (City of)- Sewers | 2025-04-10 | Cobb | Smyrna | 3001 South Cobb Smyrna Smyrna | 3500 | Raw Sewage | GAU060035 | Collection System | Separated gravity sewer line | Chattahoochee | Nickajack Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-10 | Fulton | Atlanta | 860 Lake Mirror Rd SW Atlanta | 50 | Raw Sewage | GA0039012 | Pump Station | hose from the pumping station came loose | Chattahoochee | Did Not Enter State Waters
Milledgeville, City of (Milledgeville WPCP) | 2025-04-09 | Baldwin | Milledgeville | Intersection of Dunlap Rd and N. Jefferson St Milledgeville | 600 | Raw Sewage | GA0030775 | Collection System | Roots | Oconee | Tobler Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-09 | DeKalb | Stone Mountain | 544 Pennylake Lane Stone Mountain, Georgia 30087 | 20 | Raw Sewage | GA0024147 | Private Lateral |  |  |  | Dry Land Overflow
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-09 | Fulton | Atlanta | 2925 Rivermeade Dr NW Atlanta | 10 |  | GA0039012 | Pump Station | a crew servicing the pumping station | Chattahoochee | Did Not Enter State Waters
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-09 | Fulton | Atlanta | 1812 Peachtree St NW Atlanta | 298 | Raw Sewage | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Peachtree Creek
Macon Water Authority (Lower Poplar WRF) | 2025-04-09 | Bibb | Macon | 0 Shady Road Plaza Macon, Georgia 31211 | 400 | Raw Sewage | GA0024538 | Force Main | Caused by Construction or Maintenance Activity,Third Party ContractorCaused by Construction or Maintenance Activity,Third Party Contractor | Ocmulgee | None | Dry Land Overflow
Columbus Water Works (South WRF) | 2025-04-09 | Muscogee | Columbus | 6187 Georgetown Drive Columbus, Georgia 31907 |  | Raw Sewage | GA0020516 | Collection System | Aging InfrastructureAging Infrastructure | Chattahoochee | Mill Branch Creek | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-09 | Fulton | Atlanta | 2631 Cascade Rd SW Atlanta | 212 | Raw Sewage | GA0039012 | Pump Station | pump station malfunction and grease in the mainline | Chattahoochee | Utoy Creek
Columbus Water Works (South WRF) | 2025-04-09 | Muscogee | Columbus | 12 Lambert Drive Columbus, Georgia 31903 | 360 | Raw Sewage | GA0020516 | Collection System | Aging InfrastructureAging Infrastructure | Chattahoochee | Upatoi Creek tributary | Spill Waters of the State
Macon Water Authority (Rocky Creek WRF) | 2025-04-08 | Bibb | Macon | 3299 O'Hara Drive North Macon, Georgia 31206 | 300 | Raw Sewage | GA0024546 | Pump Station | Pump Station Mechanical FailurePump Station Mechanical Failure | Ocmulgee | Rocky Creek | Dry Land Overflow
Macon Water Authority (Rocky Creek WRF) | 2025-04-08 | Bibb | Macon | 308 Carrick Way Macon, Georgia 31210 | 6344 | Raw Sewage | GA0024546 | Collection System | Blockage Fats Oil GreaseBlockage Fats Oil Grease | Ocmulgee | Wolf Creek | Spill Waters of the State
Eastman, City of (Sugar Creek WPCP) | 2025-04-07 | Dodge | Eastman | 599 Legion Drive Eastman, Georgia 31023 | 8000 | Raw Sewage | GA0046485 | Pump Station | Hurricane or Large Stormwater EventHurricane or Large Stormwater Event | Ocmulgee | Tributary to Sugar Creek | Spill Waters of the State
Barnesville, City of (James A. King WWTF) | 2025-04-07 | Lamar | Barnesville | Aldora Lift Station Barnesville | 156400 | Raw Sewage | GA0021041 | Lift Station | heavy rainfall and i pump out for repair | Ocmulgee | Little Potato Creek Tributary
Macon Water Authority (Rocky Creek WRF) | 2025-04-07 |  |  | 4705 Mead Rd Macon , GA 31206 | 44440000 | Treated Effluent | GA0024546 | WWTP | Inadequate Treatment Plant Capacity High Levels of Inflow | Ocmulgee | Ocmulgee River | Spill Waters of the State
Thomaston, City of (Town Branch WPCP) | 2025-04-07 |  | Thomaston | Highway 74 Lift Station Thomaston | 4800 | Raw Sewage | GA0030121 | Lift Station | Pump blockage | Flint | Town Branch
Macon Water Authority (Rocky Creek WRF) | 2025-04-07 | Bibb | Macon | 3040 Greenbriar Road East Macon, Georgia 31204 |  | Raw Sewage | GA0024546 | Collection System |  | Ocmulgee | Rocky Creek | Spill Waters of the State
Barnesville, City of (James A. King WWTF) | 2025-04-07 | Lamar | Barnesville | Richardson Lift Station Barnesville | 34500 | Raw Sewage | GA0021041 | Lift Station | heavy rainfall | Ocmulgee | Big Towaliga Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-07 | DeKalb | Stonecrest | 3045 Panola Road Stonecrest, Georgia 30038 |  | Raw Sewage | GA0024147 | Collection System |  |  | Panthers Branch | Spill Waters of the State
Columbus Water Works (South WRF) | 2025-04-07 | Muscogee | Columbus | 3515 Austel Drive Columbus, Georgia 31909 | 32484 | Raw Sewage | GA0020516 | Collection System | Hurricane or Large Stormwater Event,High Levels of InflowHurricane or Large Stormwater Event,High Levels of Inflow | Chattahoochee | Lindsey Creek | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2025-04-07 | Cobb | Marietta | 182 Kings Row Northeast Marietta, Georgia 30067 | 380 | Raw Sewage | GA0026140 | Collection System | Blockage Rags wipesBlockage Rags wipes | Chattahoochee | Sope Creek | Spill Waters of the State
LaGrange, City of (Long Cane Creek WPCP) | 2025-04-07 | Troup | LaGrange | 311 Creekside Dr. LaGrange | 98125 | Raw Sewage | GA0036951 | Collection System | Heavy rains created excessive flow, overwhelming nearby lift station. Overflow occurred from lowest manhole on st. | Chattahoochee | Dixie Creek
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2025-04-07 | Gwinnett | Peachtree Corners | 45 Technology Parkway South Peachtree Corners, Georgia 30092 | 33070 | Raw Sewage | GA0038130 | Collection System | Blockage Rags wipes,Blockage Tree RootsBlockage Rags wipes,Blockage Tree Roots | Chattahoochee | unnamed trib. crooked creek | Spill Waters of the State
Thomaston, City of (Town Branch WPCP) | 2025-04-07 |  | Thomaston | Moore's Crossing Lift Station Thomaston | 3150 | Raw Sewage | GA0030121 | Collection System | Power failure | Flint | Did not reach state waters
Adairsville, City of (North WPCP) | 2025-04-07 | Bartow | Adairsville | 70 Woody Road Adairsville, Georgia 30103 |  |  | GA0046035 |  | Hurricane or Large Stormwater EventHurricane or Large Stormwater Event |  | Tributary of Oothacalooga Creek | Spill Waters of the State
Columbus Water Works (South WRF) | 2025-04-07 | Muscogee | Columbus | 6 Engineer Drive Columbus, Georgia 31903 | 4329 | Raw Sewage | GA0020516 | Collection System | Hurricane or Large Stormwater Event,High Levels of InflowHurricane or Large Stormwater Event,High Levels of Inflow | Chattahoochee | Upatoi Creek Tributary | Spill Waters of the State
Columbus Water Works (South WRF) | 2025-04-07 | Muscogee | Columbus | 3504 Vernon Drive Columbus, Georgia 31909 | 365 | Raw Sewage | GA0020516 | Collection System | Hurricane or Large Stormwater Event,High Levels of InflowHurricane or Large Stormwater Event,High Levels of Inflow | Chattahoochee | Lindsey Creek | Spill Waters of the State
Columbus Water Works (South WRF) | 2025-04-07 | Muscogee | Columbus | Austel Dr. Columbus, Georgia 31909 | 11890 | Raw Sewage | GA0020516 | Collection System | Hurricane or Large Stormwater EventHurricane or Large Stormwater Event | Chattahoochee | Lindsey Creek | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-06 | Fulton | Atlanta | 2784 Lakewood Ave SW Atlanta | 200 | Raw Sewage | GA0039012 | Collection System | grease in the mainline | Chattahoochee | Did Not Enter State Waters
Columbus Water Works (South WRF) | 2025-04-06 | Muscogee | Columbus | 9691 Chatsworth Rd. Columbus | 1194 | Raw Sewage | GA0020516 | Lift Station | Backup generator failed to start after power outage. | Chattahoochee | Dozier Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-06 | DeKalb | Stonecrest | 4557 Meadow Creek Path Stonecrest, Georgia 30038 |  | Raw Sewage | GA0024147 | Collection System |  |  | Snapfinger Creek
Fulton County Department of Public Works (Big Creek WRF) | 2025-04-06 | Fulton | Union City | 4105 Oakley Industrial Boulevard Union City, Georgia 30291 |  |  | GA0024333 |  | Pump Station Mechanical FailurePump Station Mechanical Failure |  |  | Spill Waters of the State
Macon Water Authority (Rocky Creek WRF) | 2025-04-06 |  |  | 4705 Mead Rd Macon , GA 31206 | 23000000 | Treated Effluent | GA0024546 | WWTP | Inadequate Treatment Plant Capacity High Levels of Inflow | Ocmulgee | Ocmulgee River | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-06 | DeKalb | Decatur | 1950 La Mesa Lane Decatur, Georgia 30032 | 5 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-06 | DeKalb | Atlanta | 2772 North Thompson Road Northeast Atlanta, Georgia 30319 | 100 | Raw Sewage | GA0024147 | Private Lateral |  |  |  | Buildingbackup
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-06 | DeKalb | Atlanta | 2772 North Thompson Road Northeast Atlanta, Georgia 30319 | 10 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-05 | Fulton | Atlanta | 1908 Delowe Pl SW Atlanta | 154 |  | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Did Not Enter State Waters
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-04 | DeKalb | Decatur | 225 West Ponce de Leon Avenue Decatur, Georgia 30030 | 200 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-04 | DeKalb | Stonecrest | 4605 Newcastle Circle Stonecrest, Georgia 30038 | 10 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-04 | DeKalb | Lithonia | 6255 Saddlewood Drive Lithonia, Georgia 30058 | 10 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Buena Vista, City of (Buena Vista WPCP) | 2025-04-03 | Marion | Buena Vista | 104 Minter Lane Buena Vista, Georgia 31803 | 3600 | Raw Sewage | GA0023710 | Collection System | Pump Station Mechanical FailurePump Station Mechanical Failure | Flint | Did not reach state waters | Dry Land Overflow
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-03 | Fulton | Atlanta | 2049 Rector Dr SW Atlanta | 164 | Raw Sewage | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Did Not Enter State Waters
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-03 | DeKalb | Tucker | 1529 Harbour Oaks Road Tucker, Georgia 30084 |  | Raw Sewage | GA0024147 | Collection System |  |  | SOUTH FORK PEACHTREE CREK | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-03 | DeKalb | Atlanta | 1377 Hearst Drive Northeast Atlanta, Georgia 30319 | 10 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-03 | DeKalb | Lithonia | 1144 Old Greystone Drive Lithonia, Georgia 30058 | 75 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Cobb County Water System (R.L. Sutton WRF) | 2025-04-03 | Cobb | Austell | 212 riverside pkwy Austell, Georgia 30168 |  |  | GA0026140 |  | Blockage Rags wipesBlockage Rags wipes
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-02 | DeKalb | Tucker | 2101 Tucker Industrial Road Tucker, Georgia 30084 | 30 | Raw Sewage | GA0024147 | Other |  |  |  | Dry Land Overflow
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-02 | Fulton | Atlanta | 4033 Stovall Ter NE Atlanta | 229 | Raw Sewage | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Nancy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-02 | DeKalb | Atlanta | 2906 Mabry Road Northeast Atlanta, Georgia 30319 | 8 | Raw Sewage | GA0024147 | Collection System
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-01 | DeKalb | Atlanta | 6750 Peachtree Industrial Boulevard Atlanta, Georgia 30360 |  | Raw Sewage | GA0024147 | Collection System |  |  | Nancy Creek | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2025-04-01 | Cobb | Marietta | 1869 Waldrep Circle Southeast Marietta, Georgia 30060 |  |  | GA0026140
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-01 | DeKalb | Atlanta | 3900 Motors Industrial Way Atlanta, Georgia 30360 |  | Raw Sewage | GA0024147 | Collection System |  |  | North Fork Peachtree Creek | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-03-31 | Fulton | Atlanta | 4104 Woodland Park Dr SW Atlanta | 5000 | Raw Sewage | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Sandy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-31 | DeKalb | Atlanta | 2515 Northeast Expressway Atlanta 30345 Atlanta | 1840 | Raw Sewage | GA0024147 | Collection System | Found manhole 18-205-s307 spilling into North Fork Peachtree Creek due to a grease blockage | Ocmulgee | North Fork Peachtree Creek
Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | 2025-03-31 | Clayton | Forest Park | 5964 Springview Dr. Forest Park | 10800 | Raw Sewage | GA0038423 | Collection System | Grease blockage caused overflow. | Flint | Jester Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-30 | DeKalb | Decatur | 3342 North Druid Rd Decatur 30033 Decatur | 0 | Raw Sewage | GA0024147 | Collection System | Found evidence of sewer spilled into Burnt Fork Creek due issue in 4in lateral | Ocmulgee | Burnt Fork Creek
Gainesville, City of (Flat Creek WRF) | 2025-03-28 | Hall | Gainesville | near the 2800 block of Browns Bridge Road Gainesville | 7200 | Raw Sewage | GA0021156 | Collection System | construction debris | Chattahoochee | unnamed tributary to Flat Creek
Forsyth County Department of Water and Sewer (Fowler & Shakerag WRF) | 2025-03-27 | Forsyth | Cumming | 6329 Bridge Brook Overlook Cumming | 100 | Raw Sewage | GA0038954 | Lift Station | expansion tank at the lift station started leaking from a welded seam near the top of the tank | Chattahoochee | Did Not Enter State Waters
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-27 | DeKalb | Tucker | 4259 Drayton Woods Club Tucker 30084 Tucker | 99400 | Raw Sewage | GA0024147 | Collection System | Found 15in sewer main broken spilling intermittently into south fork peachtree creek due to structural damage in sewer main between 18-141-s128 and 18-141-s068 | Ocmulgee | South Fork Peachtree Creek
Columbus Water Works (South WRF) | 2025-03-26 | Muscogee | Columbus | 6016 Warm Springs Ct. Columbus | 444 | Raw Sewage | GA0020516 | Collection System | Debris caused overflow. | Chattahoochee | Cooper Branch
Macon Water Authority (Rocky Creek WRF) | 2025-03-26 | Bibb | Macon | 2337 Old Clinton Rd. Macon | 2760 | Raw Sewage | GA0024546 | Collection System | Debris and tree limbs in sewer main caused overflow. | Ocmulgee | Walnut Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-03-26 | Fulton | Atlanta | 1798 Sandford Dr NW Atlanta | 10 | Raw Sewage | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Did Not Enter State Waters
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-25 | DeKalb | Atlanta | 1400 Lake Heam Dr Atlanta 30319 Atlanta | 37300 | Raw Sewage | GA0024147 | Collection System | Found manhole 18-329-s045 spilling into Nancy Creek due to (wood and rocks) debris |  | Nancy Creek
City of Fairburn | 2025-03-25 | Fulton | Fairburn | 160 Park Way Drive Fairburn | 148063 | Raw Sewage | GAU060251 | Collection System | The overflow resulted from a blockage caused by rags, disposable towels, and a shirt and flow downstream to a wetland.Blockage Other Debris | Chattahoochee | wetland
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-25 | DeKalb | Decatur | 5072 Snapfinger Woods Drive Decatur 30035 Decatur | 475 | Raw Sewage | GA0024147 | Collection System | Found evidence of a spill at manhole #16-025-s028 caused by a grease blockage | Ocmulgee | Snapfinger Creek
Cobb County Water System (R.L. Sutton WRF) | 2025-03-25 | Cobb | Marietta | 3524 Old Suttons Way NE, Marietta, GA 30062 Marietta | 2500 | Raw Sewage | GA0026140 | Collection System | Solids | Chattahoochee | Willeo Creek
Winder, City of (Marburg Creek WPCP) | 2025-03-25 | Barrow | Winder | Marburg Creek WPCP Winder | 0 | Treated Effluent | GA0023191 | WWTP | air valve that failed to fully close during clarification in one of the basins |  | Marburg Creek